{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":33,"n_cols":13,"rows_kept":33,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏新美建筑工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","不含税单价（元）","总价（元）","品牌","备注"]
["1","TM20211019083345815df85","普通窗C1218","","1200*1800参见新06J711PC76四腔三密封（三玻两腔玻璃（4+9A+4+9A+4)窗）型材为亚光白，三玻两腔塑钢节能窗，外窗开启扇均设置纱窗。","平方米","2.16","","","","","","按图纸要求加工及包安装"]
["2","TM202110190833458160a01","普通窗C2118","","2100*1800参见新06J711PC76四腔三密封（三玻两腔玻璃（4+9A+4+9A+4)窗）型材为亚光白，三玻两腔塑钢节能窗，外窗开启扇均设置纱窗。","平方米","34.02","","","","","","按图纸要求加工及包安装"]
["3","TM2021101908334581733c5","普通窗XFC2118","","2100*1800参见新06J711PC76四腔三密封（三玻两腔玻璃（4+9A+4+9A+4)窗）型材为亚光白，三玻两腔塑钢节能窗，外窗开启扇均设置纱窗。","平方米","7.56","","","","","","按图纸要求加工及包安装"]
["4","TM20211019083345817a940","塑钢窗C1518","1500*1800","参新06J711-10页-PC71h，单框双玻璃塑钢窗，中空玻璃，型材亚光白，外窗开启扇均设纱窗","平方米","10.80","","","","","","按图纸要求加工及包安装"]
["5","TM202110190833458180618","JYC1518","1500*1800","见大样图","平方米","5.40","","","","","","按图纸要求加工及包安装"]
["6","TM2021101908334581876cd","普通窗C1812","","1800*1200参见新06J711PC51，65系列四腔三密封（双层中空玻璃（4+12A+4)窗），型材为亚光白，单框双玻璃塑钢节能内平开，外窗开启扇均设置纱窗","平方米","10.80","","","","","","按图纸要求加工及包安装"]
["7","TM202110190833458187e2a","普通窗C1821","","1800*2100参见新06J711PC85，65系列四腔三密封（双层中空玻璃（4+12A+4)窗），型材为亚光白，，单框双玻璃塑钢节能外窗，开启扇均设置纱窗","平方米","18.90","","","","","","按图纸要求加工及包安装"]
["8","TM202110190833458191bc7","塑钢窗C1518","1500*1800","参新06J711-10页-PC70h，单框双玻璃塑钢窗，65系列中空玻璃（5+12A+5），型材亚光白，外窗开启扇均设纱窗","平方米","21.60","","","","","","按图纸要求加工及包安装"]
["9","TM202110190833458195379","消防救援窗XFC1518","1500*1800","消防救援窗，应使用易碎玻璃，且在显眼处粘贴消防救援窗标识（见大样图）","平方米","5.40","","","","","","按图纸要求加工及包安装"]
["10","TM202110190833458204d18","塑钢窗C1218","1200*1800","新06J711-10页-PC69h,单框双玻塑钢窗，内平开，所有外窗开启扇均为内开。65系列中空玻璃（5+12A+5），型材亚光白，外窗开启扇均设纱窗","平方米","4.32","","","","","","按图纸要求加工及包安装"]
["11","TM20211019083345820180d","塑钢窗C1818","1800*1800","新06J711-10页-PC72h,单框双玻塑钢窗，型材为亚光白，内平开，附窗纱","平方米","32.40","","","","","","按图纸要求加工及包安装"]
["12","TM202110190833458212bc8","消防救援窗XFJYC1818","1800*1800","新06J711-10页-PC72h,单框双玻塑钢窗，型材为亚光白，中空安全玻璃，内平开，附窗纱","平方米","13.50","","","","","","按图纸要求加工及包安装"]
["13","TM2021101908334582195a1","CFC0808","800*800","现场按厂家要求定做，成品出风百叶窗","平方米","2.56","","","","","","按图纸要求加工及包安装"]
["14","TM202110190833458229871","JFC1010","1000*1000","现场按厂家要求定做，成品出风百叶窗","平方米","4.00","","","","","","按图纸要求加工及包安装"]
["15","TM20211019083345822ce12","塑钢窗C1518","1500*1800","单框双玻，型材为亚光白，中空玻璃，新06J711,8页，PC39h，外窗外开均设置纱窗","平方米","8.10","","","","","","按图纸要求加工及包安装"]
["16","TM20211019083345823f31c","塑钢窗C1818","1800*1800","单框双玻，型材为亚光白，中空玻璃，新06J711,10页，PC82h，外窗外开均设置纱窗","平方米","35.64","","","","","","按图纸要求加工及包安装"]
["17","TM202110190833458233e79","塑钢窗C2118","2100*1800","单框双玻，型材为亚光白，中空玻璃，新06J711,11页，PC86h，外窗外开均设置纱窗","平方米","11.34","","","","","","按图纸要求加工及包安装"]
["18","TM202110190833458247681","甲FC1815","1800*1500","甲级防火窗，需经消防局质量认可。 铝材","平方米","2.70","","","","","","按图纸要求加工及包安装"]
["19","TM20211019083345824ae07","消防救援窗JYC1818","1800*1800","消防救援窗，应使用易碎玻璃，且在显眼处粘贴消防救援窗标识（见大样图）","平方米","6.48","","","","","","按图纸要求加工及包安装"]
["20","TM202110190833458256da7","塑钢窗c1515","1500*1500","新06J711-10页-PC72h,单框双玻塑钢窗，型材为亚光白，内平开，附窗纱","平方米","6.75","","","","","","按图纸要求加工及包安装"]
["21","TM20211019083345826752a","塑钢窗","1500*1700","65系列四腔三密封（双层中空玻璃（4+12A+4)窗）外窗开启扇均设纱窗","平方米","12.75","","","","","","按图纸要求加工及包安装"]
["","合计","","","","","","","","","","",""]
["注：A、报价：不含税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]