{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":24,"n_cols":13,"rows_kept":24,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20211122120136177c0c1","闸阀","Z41Y-16C，DN50,RF   WCB/STL","","件","1.00","","","","","","污水污泥泵管线"]
["2","TM202111221201361786182","闸阀","Z41Y-16P  DN80  PN16  RF  L=203mm  CF8/STL","","台","2.00","","","","","","原水活性炭进水阀"]
["3","TM2021112212013617944aa","闸阀","Z41W-150LB  DN100 RF  CF8/304","","台","1.00","","","","","","氨水管线"]
["4","TM2021112212013617922ca","内螺纹球阀","Q11F -10P  DN15   PN1.0   304","","台","5.00","","","","","","全厂仪表用"]
["5","TM20211122120136179b86b","内螺纹球阀","Q11F-16P DN32 (11/4″)   304","","个","5.00","","","","","","（王勤东申请）水暖管线用"]
["6","TM2021112212013618064d1","高温球阀","QZ41M-16P；DN50；L=180mm；RF；304/Monel（蒙乃尔合金）","动力脱硫泵房暖气总阀","台","2.00","","","","","","（王勤东申请）动力脱硫泵房暖气总阀"]
["7","TM2021112212013618012bf","遥控浮球阀","型号100X DN65 PN1.6MPa RF（法兰端面结构长度216mm）","石灰乳铺助箱","台","1.00","","","","","","石灰乳铺助箱"]
["8","TM20211122120136181d1ca","承插焊截止阀","J61Y-1500LBC SW  DN15  A105/13Cr","","台","3.00","","","","","","冲洗水手阀"]
["9","TM20211122120136181034e","止回阀","H44F-10P DN50 RF  304/衬氟橡胶","介质：氨气","台","1.00","","","","","","2#脱硫氨水罐排气管线新增"]
["10","TM20211122120136181d2b3","阀盖","配套法兰旋启式止回阀（H44Y-900LBI DN500 RJ WC6/STL）","","件","1.00","","","","","","提供简图/工艺气阀盖"]
["11","TM20211122120136182b440","疏水器","TB11F-16 DN15   PN2.0MPa   WCB","","件","5.00","","","","","","变换、硫回收伴热站疏水阀"]
["12","TM202111221201361821ed4","疏水器","TB11F-16 DN15   PN2.0MPa   WCB","","件","10.00","","","","","","伴热站疏水阀"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]