{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":40,"n_cols":13,"rows_kept":40,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏新美建筑工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM20211018133537079ce2f","PVC,S弯","DN50","国标","个","100.00","","","","","",""]
["2","TM2021101813353708063d2","PVC管堵帽","DN100","国标","个","100.00","","","","","",""]
["3","TM2021101813353708124e1","PVC管堵帽","DN50","国标","个","200.00","","","","","",""]
["4","TM20211018133537082e113","PVC集成穿筋盒","86暗装盒","国标/上25+20下25","个","200.00","","","","","","上下通三眼"]
["5","TM20211018133537084b794","PVC集成穿筋盒","86暗装盒","国标","个","2000.00","","","","","","一眼20孔"]
["6","TM2021101813353708532bf","PVC集成穿筋盒","86暗装盒","国标","个","1000.00","","","","","","二眼20孔"]
["7","TM20211018133537086442f","PVC集成穿筋盒","86暗装盒","国标","个","200.00","","","","","","二眼上下通20孔"]
["8","TM202110181335370902ed9","PVC集成穿筋盒","86暗装盒","国标","个","200.00","","","","","","上下通三眼20孔"]
["9","TM202110181335370914f1a","PVC集成预埋灯盒","八角盒","国标","个","200.00","","","","","","一眼20孔"]
["10","TM20211018133537095b070","PVC集成预埋灯盒","八角盒","国标","个","600.00","","","","","","直角二眼20孔"]
["11","TM2021101813353709681ce","PVC集成预埋灯盒","八角盒","国标","个","200.00","","","","","","三眼20孔"]
["12","TM20211018133537097141e","PVC集成预埋灯盒","八角盒","国标","个","400.00","","","","","","四眼20孔"]
["13","TM202110181335370989eef","预埋地漏","DN50","国标","个","800.00","","","","","",""]
["14","TM202110181335370996006","积水器下插三通","DN110","国标","个","20.00","","","","","",""]
["15","TM202110181335370992fd4","PVC斜三通","DN110","国标","个","40.00","","","","","",""]
["16","TM202110181335371004700","PVC斜三通","DN110*DN50","国标","个","60.00","","","","","",""]
["17","TM202110181335371013e34","PVC斜三通","DN50","国标","个","20.00","","","","","",""]
["18","TM2021101813353710310c2","PVC顺水三通","DN50","国标","个","20.00","","","","","",""]
["19","TM202110181335371043bfb","PVC顺水三通","DN110","国标","个","40.00","","","","","",""]
["20","TM20211018133537105e4da","PVC顺水三通","DN110*DN50","国标","个","40.00","","","","","",""]
["21","TM2021101813353710750e7","PVC小弯","DN100","国标","个","200.00","","","","","",""]
["22","TM20211018133537108f225","PVC小弯","DN50","国标","个","400.00","","","","","",""]
["23","TM20211018133537109af47","PVC补芯","DN110*DN50","国标","个","40.00","","","","","",""]
["24","TM20211018133537110f91a","PVC，P弯","DN50","国标","个","100.00","","","","","",""]
["25","TM20211018133537112319c","PVC暗装预埋盒","86暗装盒","国标","个","400.00","","","","","","孔径:25+20。高:6CM"]
["26","TM2021101813353711454bf","PVC暗装预埋盒","86暗装盒","国标","个","2000.00","","","","","","孔径:20。高:5CM"]
["27","TM20211018133537115fa61","PVC暗装预埋盒","86暗装盒","国标","卷","6000.00","","","","","","孔径:20。高:6CM"]
["28","TM20211018133537116278e","刚性止水套管","DN150","国标","个","65.00","","","","","","管厚5MM,7CM处焊翼环翼环厚1CM,宽5CM"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]