{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":30,"n_cols":13,"rows_kept":30,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏新美建筑工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","不含税单价（元）","总价（元）","品牌","备注"]
["1","TM202110211053186688fbb","圆形不锈钢保温水箱","厚度1mm，10吨","国标","个","1.00","","","","","",""]
["2","TM202110211053186692d99","电磁阀","DN32  材质：纯铜","国标","个","2.00","","","","","",""]
["3","TM20211021105318669a624","螺纹闸阀","DN32  材质：纯铜","国标","个","12.00","","","","","",""]
["4","TM2021102110531867017e1","螺纹闸阀","DN40  材质：纯铜","国标","个","8.00","","","","","",""]
["5","TM2021102110531867062d5","空气能","10P，制热量36KW，额定输入功率：8.6KW","国标","台","1.00","","","","","","包安装"]
["6","TM202110211053186707d62","空气能循环泵","Qmax=17.4m3/h,Hmax=7.5m,额定输入功率：450W","国标","台","1.00","","","","","","包安装"]
["7","TM2021102110531867181de","Y型过滤器","DN40，材质：纯铜","国标","个","4.00","","","","","","包安装"]
["8","TM20211021105318672bf3f","止回阀","DN40，材质：纯铜","国标","个","4.00","","","","","","包安装"]
["9","TM2021102110531867294f0","电力电缆","YJV5*6","国标","米","20.00","","","","","","包安装"]
["10","TM202110211053186734fc2","控制电缆","4*0.5","国标","米","50.00","","","","","","包安装"]
["11","TM20211021105318673d7c2","水泵电缆","3*1.5","国标","米","100.00","","","","","","包安装"]
["12","TM20211021105318674c66e","控制箱","全智能控制系统，含温度控制，时间控制，温差循环系统，自动补水系统","国标","只","1.00","","","","","","包安装"]
["13","TM20211021105318674482e","水处理","20公斤不锈钢罐体，韩国进口硅磷精","国标","套","1.00","","","","","","包安装"]
["14","TM20211021105318674e07b","用水变频泵","Q=14.14m3/h,H=25m,P=2kw","国标","台","1.00","","","","","","包安装"]
["15","TM20211021105318675b52b","管道","DN40钢塑复合管，含弯头，变径，三通等管件，含2cm橡塑保温及铝箔外壳保护层","国标","米","50.00","","","","","","包安装"]
["16","TM2021102110531867538da","水泵挡水棚","4#镀锌角钢及彩钢板","国标","支","2.00","","","","","","包安装"]
["17","TM2021102110531867631fc","水箱底座","8#镀锌槽钢","国标","支","2.00","","","","","","包安装"]
["18","TM20211021105318676c441","管道支架","4#镀锌槽钢","国标","支","5.00","","","","","","包安装"]
["","合计","","","","","","","","","","",""]
["注：A、报价：不含税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]