{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":38,"n_cols":13,"rows_kept":38,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["徐州矿务集团有限公司庞庄煤矿物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202110100812544466807","本质安全型控制组件","IKZ-36NⅡ徐州煤矿机械厂","","个","10.00","","","","","","更换检修用"]
["2","TM20211010081254447a132","10/15KV高压冷缩三芯电缆中间接头","JLS-15/3.2 70-120mm2","","套","6.00","","","","","","一盘区变电所改造"]
["3","TM202110100812544478fa2","隔爆按钮","M6江苏中联电气股份有限公司","","个","20.00","","","","","","五小件检修"]
["4","TM2021101008125444893a5","单相不锈钢潜水电泵","QD10-15-1.5江苏常州万河机电有限公司","","个","2.00","","","","","","新空压机房排水用"]
["5","TM20211010081254448e4a8","挂壁式应急照明灯","LED灯芯3W","","台","12.00","","","","","","空压机房安装用"]
["6","TM202110100812544487340","铜线鼻","400A","","个","300.00","","","","","","接地极用"]
["7","TM20211010081254449c1c4","低压接线盒","BHD2-25-3G浙江荣通","","个","10.00","","","","","","84207用"]
["8","TM202110100812544490eb8","负压传感器","GF100F(A)(电流型)中煤科工集团重庆研究院有限公司","","台","3.00","","","","","","集中一二部、950一二部、  主井皮带"]
["9","TM20211010081254449376a","矿用本安型速度传感器","GSH8中煤科工集团重庆研究院有限公司","","台","2.00","","","","","","集中一二部、950一二部、  主井皮带"]
["10","TM20211010081254450a43a","干燥剂","每袋20KG徐州意创","","袋","5.00","","","","","","设备防潮"]
["11","TM20211010081254450c9e6","真空交流接触器","AC36V、400A/1140v昆山真空管","","台","5.00","","","","","","组合开关"]
["12","TM20211010081254450baec","控制电源","7C-00","","个","1.00","","","","","","组合开关"]
["13","TM20211010081254450b2df","中间继电器","CA2-D131 AC220V","","个","3.00","","","","","","组合开关"]
["14","TM202110100812544511195","中间继电器","CA2-D131 AC24V","","个","3.00","","","","","","组合开关"]
["15","TM202110100812544516411","中间继电器","CA2-D131 AC36V","","个","3.00","","","","","","组合开关"]
["16","TM20211010081254451eb20","综合保护器","ABDB-315S","","个","4.00","","","","","","组合开关"]
["17","TM202110100812544525dce","隔离换向开关","HGK400A/1140（立式）乐清","","台","5.00","","","","","","组合开关"]
["18","TM20211010081254452de1e","控制主板(控制组件","6.041.002山东大齐","","块","1.00","","","","","","闭锁电话"]
["19","TM202110100812544524762","输送机保护装置保护板","KHP128K型淮南启航电子有限公司","","块","5.00","","","","","","皮带控制检修用"]
["20","TM20211010081254452f9bc","电池","23A  12vALKAINE","","节","5.00","","","","","","地面维护室"]
["21","TM202110100812544530c7e","704密封胶","每箱200支","","箱","2.00","","","","","","冷补电缆"]
["22","TM202110100812544537377","AB胶","","","组","10.00","","","","","","螺丝封口"]
["23","TM202110100812544531590","冷补胶","双组合  30组/箱","","箱","7.00","","","","","","电缆维修"]
["24","TM20211010081254454bf0e","低压胶布","三色（红、黄、绿）","","盘","30.00","","","","","","电气检修"]
["25","TM202110100812544540e73","电焊面罩","黑塑料","","顶","2.00","","","","","","地面加工"]
["26","TM202110100812544545359","电焊条","506#大桥","","箱","4.00","","","","","","地面加工"]
["","合计","","","","","","","","","","",""]
["注：A、报价：含税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]