{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":16,"n_cols":13,"rows_kept":16,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20210810112256090fded","气体报警控制器","包含1张主控卡；15张通道卡、1个壁挂式机箱。检测气体类型：%LEL/%VOL/ppm；量程范围：（0～100）％LEL、（0～100）％VOL、（0～100）ppm；通道卡输入信号：带HART协议的（4～20）mA 标准气体报警器电流信号；通道卡输出信号： 3组继电器信号（高限报警、低限报警、故障 ），主控卡输出RS-485通讯信号，3组继电器信号等。报警方式：声光需厂家到厂安装调试报警；","","台","1.00","","","","","","品牌：深圳逸云天、成都安可信、杭州聚光科技，"]
["2","TM20210810112256091bdb2","酸雾报警仪","测量范围：0-30ppm；输出：4-20mA；供电：24VDC；精度：≤±3F.S；工作温度：-40-70℃；工作湿度：5%-95%；防护等级：IP66；防爆等级：EX dIIC T4；带声光；三线制；带HART协议，带型式检定证书，带密封接头","","台","4.00","","","","","","品牌：深圳逸云天、成都安可信、杭州聚光科技"]
["3","TM20210810112256091ec26","固定式气体检测报警仪","测量范围：0-100ppm  NH3；供电电源：10-30VDC；环境温度：（-20-50）℃；防爆等级：EXdllCT6；带声光报警；带遥控器，三线制；输出信号：4-20mA；精度等级：＜±3%F.S；防护等级：IP67；带HART协议；带防爆密封接头；带安装支架，带型式检定证书","","台","4.00","","","","","","品牌：深圳逸云天、成都安可信、杭州聚光科技"]
["4","TM202108101122560923781","漏氯报警仪","测量范围：0-5ppm；供电：24VDC；工作温度：-40-70℃；工作湿度：5%-95%；防护等级：IP66；防爆等级：EX dIIC T4；带声光；三线制，带HART协议；带HART协议，带型式检定证书，带密封接头","","台","4.00","","","","","","品牌：深圳逸云天、成都安可信、杭州聚光科技"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]