{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":40,"n_cols":13,"rows_kept":40,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏新美建筑工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM20211115135014939e125","PVC积水器下插三通","De110","国标","个","20.00","","","","","",""]
["2","TM20211115135014940d6ac","PVC斜三通","De110","国标","个","10.00","","","","","",""]
["3","TM20211115135014941b18e","PVC斜三通","De110*De50","国标","个","40.00","","","","","",""]
["4","TM20211115135014941bdd3","PVC顺水三通","De110*De50","国标","个","20.00","","","","","",""]
["5","TM20211115135014942d40d","PVC补芯","De110*De50","国标","个","20.00","","","","","",""]
["6","TM2021111513501494202b4","PVCP弯","De50","国标","个","20.00","","","","","",""]
["7","TM20211115135014942e77e","PVCS弯","De50","国标","个","30.00","","","","","",""]
["8","TM202111151350149438a32","PVC地漏","De50","国标","个","16.00","","","","","",""]
["9","TM20211115135014943c8cb","PVC线管","De16","国标","米","1000.00","","","","","","壁厚1.5MM"]
["10","TM20211115135014943e7f1","PVC-U内排水管","De110","承压","米","300.00","","","","","","壁厚3.2MM"]
["11","TM20211115135014944e03f","UPVC内排水管","De50","承压","米","160.00","","","","","","壁厚2.0MM"]
["12","TM20211115135014944e578","PVC-U消音管","De110","承压","米","300.00","","","","","","壁厚3.2MM"]
["13","TM202111151350149441747","加长伸缩节","De110","国标","个","220.00","","","","","",""]
["14","TM2021111513501494561dc","PPR给水管","De25","S5级","米","700.00","","","","","","壁厚2.3MM"]
["15","TM2021111513501494524d0","PPR弯头","De25","国标","个","600.00","","","","","",""]
["16","TM20211115135014945c854","PPR内丝弯头","De25","国标","个","50.00","","","","","",""]
["17","TM20211115135014946e0d4","PPR截止阀","De25","国标","个","40.00","","","","","",""]
["18","TM20211115135014946fe03","单联单控开关","10A","","个","150.00","","","","","","推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["19","TM202111151350149463ad7","双联单控开关","10A","","个","100.00","","","","","","推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["20","TM20211115135014947de55","普通五孔插座","10A","","个","420.00","","","","","","IP54安全型，推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["21","TM20211115135014947c752","厨房五孔插座","10A","","个","60.00","","","","","","安全型防溅带开关，推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["22","TM2021111513501494746a9","油烟机三孔插座","10A","","个","90.00","","","","","","安全型防溅带开关，推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["23","TM202111151350149488ac4","热水器三孔插座","16A","","个","40.00","","","","","","安全型防溅带开关，推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["24","TM202111151350149484ba8","卫生间五孔插座","10A","","个","60.00","","","","","","安全型防溅，推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["25","TM202111151350149488a8e","挂机空调三孔插座","16A","","个","120.00","","","","","","安全型带开关，推荐品牌为公牛、德力西、正泰等同等以上品牌"]
["26","TM202111151350149488cde","JDG线管","DN20","","米","3000.00","","","","","",""]
["27","TM2021111513501494948d6","阻火圈","De110","","个","3244.00","","","","","",""]
["28","TM202111151350149494e82","PVC排水管","De75","","米","100.00","","","","","","壁厚2.3MM"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]