{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM2021080318365114112ea","变频器","ABB ACS510-01-088A-4（45KW）","","台","1.00","","","","","",""]
["2","TM20210803183651142149c","万能转换开关","LW28-20A  ADA-6A699-4","","个","10.00","","","","","",""]
["3","TM202108031836511435701","热继电器","LRD08C 2.5-4A","","个","3.00","","","","","",""]
["4","TM20210803183651144b68a","铜芯塑料软线","BVR-7/0.52 1.5mm2","","米","200.00","","","","","",""]
["5","TM202108031836511453c28","交流接触保护器","型号：CJX1-32\\22 电压：220V","","个","3.00","","","","","",""]
["6","TM202108031836511450310","交流接触器","CJX2-0910  220V","","个","10.00","","","","","",""]
["7","TM20210803183651146f5b8","三相异步电动机","YS8024 750w B5","","台","1.00","","","","","",""]
["8","TM202108031836511462326","三相异步电动机","型号：DRN100S4 SRD1 电压：380v 转速1400r/min 功率：2.2kw","","台","1.00","","","","","",""]
["9","TM20210803183651147dfaf","行程开关","YBLX-3(LX3)/11H","","个","19.00","","","","","",""]
["10","TM20210803183651148caf6","交流接触器","CJX2-6511（线圈电压24V)","","个","5.00","","","","","",""]
["11","TM202108031836511481266","集电器检修段","DMHX-J/L 500A","","个","6.00","","","","","",""]
["12","TM202108031836511490947","雷达物位计","FEDRD800A 0-10m DC24V两线制4-20mA输出 强粉尘环境 法兰连接 法兰内径96mm 法兰外径215mm 8孔M18 对孔中心距181mm","","台","1.00","","","","","",""]
["13","TM20210803183651149a003","雷达物位计","FEDRD800A 0-10m DC24V两线制4-20mA输出 强粉尘环境 法兰连接 法兰内径96mm 法兰外径220mm 8孔M18 对孔中心距180mm","","台","1.00","","","","","",""]
["14","TM2021080318365115076b5","压力变送器","EJA530A 0-1MPa两线制DC24V重庆横河川仪 支持BT200和Hart375协议","","块","4.00","","","","","",""]
["15","TM202108031836511518178","千兆单模单纤光纤收发器","netLINK HTB-4100AB","","对","5.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]