{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":25,"n_cols":13,"rows_kept":25,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20210810135614984cd8b","火灾声光报警器","LK-Y01","","台","10.00","","","","","",""]
["2","TM202108101356149861115","编码器","CP900M","","个","1.00","","","","","",""]
["3","TM202108101356149899635","光电开关","1040789 SICK WX1739 ME12-08NN5ZW2K","","只","2.00","","","","","",""]
["4","TM2021081013561499013a4","氨气压力表","不锈钢压力表，YB-150 量程：0-40KPa；结构形式：径向；精度1.6；螺纹连接：M20*1.5","","块","1.00","","","","","",""]
["5","TM202108101356149919d52","氨气压力表","不锈钢耐震压力表，YNB-150 量程：0-0.6MPa；结构形式：径向；精度1.6；螺纹连接：M20*1.5","","块","3.00","","","","","",""]
["6","TM2021081013561499256cf","室内外温湿度计","TH101B","","只","5.00","","","","","",""]
["7","TM202108101356149937acc","铠装热电阻","WZPK-14AM -P  PT100,双支，ф6，长度：2米，连接方式：螺纹M16*1.5  密封头磨煤机","","只","20.00","","","","","",""]
["8","TM20210810135614994db59","S型热电偶","WRS-432；量程0-1500℃；分度号：S  插深：750mm；法兰：HG/T20592-2009  40-16 RF","","支","4.00","","","","","",""]
["9","TM202108101356149955cd6","接近开关","XS630B1MAL2","","只","2.00","","","","","",""]
["10","TM202108101356149984896","仪表风线管","软风线    Φ12  无色透明  聚乙烯（PE)聚乙烯","","m","50.00","","","","","",""]
["11","TM20210810135615002873c","防爆安全隔离栅","MK13-22N-EX0/24VDC","","个","2.00","","","","","",""]
["12","TM20210810135615007132a","上切刀","部件号：106053，出厂编号：CE11090-MCC.AM，哈尔滨博实自动化股份有限公司","","件","1.00","","","","","",""]
["13","TM20210810135615010c426","下切刀","部件号：106083，出厂编号：CE11090-MCC.AM，哈尔滨博实自动化股份有限公司","","件","1.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]