{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":26,"n_cols":13,"rows_kept":26,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏华美热电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM20250714105228703ac34","滴定台","50ml套装","50ml套装","个","3.00","","","","","",""]
["2","TM202507141052287041a3b","双面胶带","30mm*2m","30mm*2m","盘","30.00","","","","","",""]
["3","TM20250714105228705a2ef","三相四极扁插头","PT-16/440V 16A(白色）","PT-16/440V 16A(白色）","只","5.00","","","","","","公牛"]
["4","TM202507141052287063695","钻尾自攻自钻螺钉","6*20mm","6*20mm","十只","50.00","","","","","",""]
["5","TM2025071410522870675ba","消防钉","25#（钉长25mm,底部直径7.5mm,顶部直径16mm）","25#（钉长25mm,底部直径7.5mm,顶部直径16mm）","个","200.00","","","","","",""]
["6","TM2025071410522870756da","不锈钢喉箍","Φ59-82","Φ59-82","个","50.00","","","","","",""]
["7","TM20250714105228708693c","玻璃钢弯头(FRP)","DN100--PN16--B,90°（对接缠绕连接）,乙烯基，HG/T21633-1991  长丝缠绕玻璃钢管道（管内部2.5mm厚碳化硅防磨层）","DN100--PN16--B,90°（对接缠绕连接）,乙烯基，HG/T21633-1991  长丝缠绕玻璃钢管道（管内部2.5mm厚碳化硅防磨层）","个","2.00","","","","","",""]
["8","TM2025071410522870959c4","气动PU管","PU 8×5㎜ 100米/盘  锐致气动元件","PU 8×5㎜ 100米/盘  锐致气动元件","盘","1.00","","","","","",""]
["9","TM202507141052287102403","过滤式消防自救呼吸器","TZL30","TZL30","个","20.00","","","","","",""]
["10","TM20250714105228710f02b","滤毒罐","HG-ABS/D2-2","HG-ABS/D2-2","个","10.00","","","","","",""]
["11","TM2025071410522871175eb","防喷易熔塞","带弹出拔杆塞体部分 M24*1.5","带弹出拔杆塞体部分 M24*1.5","个","10.00","","","","","","易熔合金熔点为120℃"]
["12","TM20250714105228711dc6b","手轮","B16*160","B16*160","件","30.00","","","","","","304不锈钢材质 内孔螺纹M16"]
["13","TM2025071410522871274e5","油嘴（吹灰器）","CHBZ000047","CHBZ000047","个","60.00","","","","","","黄铜材质"]
["14","TM202507141052287133d55","Y型密封圈","UN45*55*6","UN45*55*6","个","20.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]