{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":26,"n_cols":13,"rows_kept":26,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202504111458433451d0f","指示灯","AD16-22DSAC/DC220V交直流两用绿色10个/盒","","盒","1.00","","","","","","电气消耗品/"]
["2","TM202504111458433471c3f","指示灯","AD16-22DSAC/DC220V交直流两用红色10个/盒","","盒","1.00","","","","","","电气消耗品/"]
["3","TM20250411145843348fac9","BV电线","国标ZR-BV6平方黄色100米/卷","","卷","1.00","","","","","","现场检修箱更换/"]
["4","TM202504111458433498c63","BV电线","国标ZR-BV6平方绿色100米/卷","","卷","1.00","","","","","","现场检修箱更换/"]
["5","TM202504111458433509e31","BV电线","国标ZR-BV6平方红色100米/卷","","卷","1.00","","","","","","现场检修箱更换/"]
["6","TM202504111458433508ecf","BV电线","国标ZR-BV6平方蓝色100米/卷","","卷","1.00","","","","","","现场检修箱更换/"]
["7","TM202504111458433515c12","通讯线缆标签机","DP30S+24卷配套横板线缆标签纸白黄绿红色各6卷可连蓝牙送两块1500mAH锂电池","","个","1.00","","","","","","现场标准化整改/含说明书、充电器"]
["8","TM2025041114584335203d0","单法兰式隔膜压力变送器","3051TG3A2B21AB4M50-1.6MPaDN25P16IP65 M20*1.5 两线制输出4-20mA最大工作压力10MPa","","块","1.00","","","","","","尿素水解区使用/耐腐蚀 防爆密封"]
["9","TM20250411145843353b97a","单法兰式隔膜差压变送器","EJA210E模式S2JHS5J-919EN-WG23A2H0-100KPa DN80P16IP65M20*1.5 两线制输出4-20mA最大工作压力3MPa","","块","1.00","","","","","","脱硫吸收塔液位计/耐腐蚀"]
["10","TM202504111458433532787","塑壳断路器","SACE S7H Iu=1250A Ue=690V","","个","1.00","","","","","","翻车机主电源断路器更换用/"]
["11","TM20250411145843354b170","三相异步电动机","型号B5YS8024功率750w转速1400r/min 通轴带齿轮","","台","2.00","","","","","","犁煤器电机损坏/"]
["12","TM20250411145843355e970","电压表","HN-6L2 AC:450V","","块","2.00","","","","","","冲洗水泵控制箱/"]
["13","TM20250411145843355cf44","三相异步电动机","YBX3-100L-4 改YB2 160L-4\n功率 15KW 380V 电流30.1A 卧式电机 色号RAL6017","0.5","台","1.00","","","","","","油泵房卸油泵电机-更换-原使用电机：佳木斯（替代品牌需确保安装尺寸一致"]
["14","TM20250411161110440deae","压力表","Y60 表盘 量程 0-0.6MPa   M14*1.5MM 轴向安装，精度：2.5级，304外壳","Y60 表盘 量程 0-0.6MPa   M14*1.5MM 轴向安装，精度：2.5级，304外壳","个","4.00","","","","","","工业废水区"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]