{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":26,"n_cols":13,"rows_kept":26,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202506041710010655d01","衬氟隔膜阀","G41F46-16     50mm","","只","1.00","","","","","","一级旋流器用"]
["2","TM202506041710010673e4e","隔膜阀","G41J-16P  DN40  CF8    GB/T 12239-2008","","台","2.00","","","","","","脱盐水液碱放空管线改造"]
["3","TM202506041710010688351","隔膜阀","G46J-DN25;PN16  RF  304   GB/T 12239-2008","","台","2.00","","","","","","供水酸碱液位计阀门更换"]
["4","TM20250604171001069ed77","隔膜阀","G46J-DN50;PN16  RF  304   GB/T 12239-2008","","台","2.00","","","","","","供水酸碱管线阀门更换"]
["5","TM202506041710010692c3e","喷吹阀","FG-EXT-FG V58348 SCR353G060 24DC","升级前型号：SCXE2353.0  TPL：26101，24V DC，参考型号：FG-S000。","台","7.00","","","","","","关键备件补库，动力布袋除尘器喷吹阀检修更换"]
["6","TM2025060417100107006b2","球阀","Q41F-16C PN16 DN15  RF  A105/橡胶","","台","2.00","","","","","","硫酸管线阀门更换"]
["7","TM2025060417100107162c0","球阀","Q41F-16C PN16 DN20  RF A105/橡胶","","台","2.00","","","","","","硫酸管线阀门更换"]
["8","TM2025060417100107250aa","球阀","Q41F46-16P  DN50 PN16  RF   316L，介质：硫酸铵浆液，适用温度≤200℃。","","台","3.00","","","","","","还净化计划（P23A02AB导淋等）"]
["9","TM20250604171001072ce34","过滤器球阀","DN15-PN16，螺纹连接，黄铜","","个","2.00","","","","","","供水机泵多功能水泵控制阀到压管过滤器"]
["10","TM202506041710010733eaa","过滤器球阀","DN20-PN16，螺纹连接，黄铜","","个","13.00","","","","","","供水机泵出口多功能阀导压管"]
["11","TM202506041710010745ae2","止回阀","H77XR-10Q DN200 PN10 H=90mm","","台","1.00","","","","","","脱盐水中间水泵止回阀更换"]
["12","TM20250604171001074d908","球阀保护套","DN25 PN16 PVC 透明","","个","5.00","","","","","","硫回收阀门螺栓保护"]
["13","TM202506041710010752660","球阀保护套","DN40 PN16 PVC 透明","","个","10.00","","","","","","硫回收阀门螺栓保护"]
["14","TM20250604171001075c80c","球阀保护套","DN50 PN16 PVC 透明","","个","10.00","","","","","","硫回收阀门螺栓保护"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]