{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20241015160942001466d","工业防火提升门电机保养","","","台","1.00","","","","","","以实际发生数量为准"]
["2","TM202410151609420033355","工业防火提升门控制器保养","","","台","1.00","","","","","","以实际发生数量为准"]
["3","TM20241015160942005d862","工业防火提升门弹簧保养","","","付","1.00","","","","","","以实际发生数量为准"]
["4","TM20241015160942005a66c","工业防火提升门钢丝绳保养","","","付","1.00","","","","","","以实际发生数量为准"]
["5","TM2024101516094200629c4","工业防火提升门轨道整形修复","","","付","1.00","","","","","","以实际发生数量为准"]
["6","TM20241015160942007c712","工业防火提升门轨道更换","","","米","1.00","","","","","","以实际发生数量为准"]
["7","TM202410151609420077a3d","工业防火提升门门板（4080*500）","","","块","1.00","","","","","","以实际发生数量为准"]
["8","TM20241015160942008f5be","工业防火提升门门板更换（人工费）（4080*500）","","","块","1.00","","","","","","以实际发生数量为准"]
["9","TM20241015160942009b770","工业防火提升门门板变形整形修复","","","米","1.00","","","","","","以实际发生数量为准"]
["10","TM20241015160942009b296","工业防火提升门钢丝绳更换","","","米","1.00","","","","","","以实际发生数量为准"]
["11","TM20241015160942010126d","工业防火提升门底梁加气囊胶条","","","米","1.00","","","","","","以实际发生数量为准"]
["12","TM2024101516094201148f4","工业防火提升门电机更换（拆旧换新）（电机宝通物流提供）","","","台","1.00","","","","","","以实际发生数量为准"]
["13","TM202410151609420111738","工业防火箱更换（拆旧换新）（控箱宝通物流提供）","","","台","1.00","","","","","","以实际发生数量为准"]
["14","TM20241015160942012a6a0","防火卷帘门电机更换（拆旧换新）（电机宝通物流提供）","","","台","1.00","","","","","","以实际发生数量为准"]
["15","TM202410151609420132f45","防火卷帘门控制箱更换（拆旧换新）（控制箱宝通物流提供）","","","台","1.00","","","","","","以实际发生数量为准"]
["","合计","","","","","","","","","","",""]
["注：A、报价：含税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]