{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":28,"n_cols":13,"rows_kept":28,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","2499060040","V型密封圈","40*32*8","","件","50.00","","","","","","内径φ32mm、外径φ40mm、高8mm，#1、2炉电除尘顶部提升阀备用，直发阿克苏电厂"]
["2","2725850500","电磁除铁器（以下配件）：","RCDD-14T2-沈阳隆基电磁科技有限公司","","套","1.00","","","","","","（需要采购除铁器主机）—，型号RCDD-14T2 电磁线圈功率21KW，#2除铁器主机更换用，直发阿克苏电厂"]
["3","6002990033","行车手柄","cob64带急停按钮","","个","4.00","","","","","","现场电动葫芦使用，六键，直发阿克苏电厂"]
["4","6003090020","枪管","IK-530","","根","2.00","","","","","","内枪管，IK-530（符合戴蒙德电力机械（湖北）有限公司参数标准），#1炉105长吹使用，直发阿克苏电厂"]
["5","6012010038","蓄能器胶囊","10升","","个","3.00","","","","","","磨煤机蓄能器检修备用，直发阿克苏电厂"]
["6","6013030041","清扫链托轮","GMS14","","个","20.00","","","","","","托轮，#1、2炉干渣机清扫链使用，GWS14；密封盖直径φ210mm，φ195mm三等分螺孔12mm，密封板厚度：5mm，材质：Q235B；密封板与箱体间密封为石墨盘根、带配套石墨盘根密封，直发阿克苏电厂"]
["7","6014090033","调节阀","VVF18ENO  21-AI1041-0001  电磁阀+放空阀 带线圈24V DC","","块","1.00","","","","","","热控材料 仪用空压机加载电磁阀 事故备件，直发阿克苏电厂"]
["8","6301010164","带式除铁器皮带","RCDF-14T2    B=1400","","条","1.00","","","","","","除铁器皮带 ，除铁器型号 RCDD-14T2 B=1400mm，直发阿克苏电厂"]
["9","6301010200","可逆自动下调心托辊组托辊架","带宽1400 辊径133","","套","5.00","","","","","","直发阿克苏电厂"]
["10","6301010231","可逆自动下调心托辊组托辊架","带宽800 辊径108","","套","5.00","","","","","","直发阿克苏电厂"]
["11","6301010285","除铁器皮带","除铁器型号 PDC-8T2 B=800mm","","条","1.00","","","","","","除铁器皮带 ，除铁器型号 PDC-8T2 B=800mm，直发阿克苏电厂"]
["12","6301010323","纠偏控制器","SMS-RG67/DZ（不锈钢材质）","","个","60.00","","","","","","直发阿克苏电厂"]
["13","6301040033","电动空气控制阀","DKF-32 压力0.1Mpa 380V 50Hz 1A  与电机同步","","块","2.00","","","","","","电磁式电动空气控制阀，DKF-32 电压:380V 频率:50Hz 电流：1A，热控材料：化水浓水回收泵使用，直发阿克苏电厂"]
["14","6407010050","SOR液位开关组件","SOR液位开关A1型开关单元","","个","5.00","","","","","","SOR液位开关A1型开关单元带配套固定螺栓，高加液位开关更换3个 除氧器液位开关更换2个 重要设备 原设备配件需该品牌设备配套使用，直发阿克苏电厂"]
["15","6702080002","蒸汽电磁阀","ZCZ-16  DN50 带线圈、法兰连接","","个","2.00","","","","","","Asco ZCZ-16P DN50带线圈、法兰连接、220V、材质304；阀门间距185mm，直发阿克苏电厂"]
["16","8289161606","针型阀","J23W-160P DN6   304","","只","12.00","","","","","","J23W160P DN6 304SS M14*1.5外螺纹 ，喷吹提升阀减压阀使用，直发阿克苏电厂"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]