{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":68,"n_cols":13,"rows_kept":68,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏省矿业工程集团有限公司安装分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20251013111725143de47","接线盒","32A三相5芯（明装）\n制冷量22.4kw，功率6.5kw，风量≥6000m3/h","32A三相5芯（明装）\n制冷量22.4kw，功率6.5kw，风量≥6000m3/h","个","2.00","","","","","","按项目部要求及时送货"]
["2","TM202510131117251445ac0","485通讯线","485通讯总线","485通讯总线","m","500.00","","","","","","按项目部要求及时送货"]
["3","TM20251013111725145d31c","管理系统","1、含配套软件、数据接口等\n2、其他详见图纸","1、含配套软件、数据接口等\n2、其他详见图纸","件","1.00","","","","","","按项目部要求及时送货"]
["4","TM2025101311172514649e1","开关电源","1、种类：开关电源设备\n2、规格：24V\n3、其他详见图纸","1、种类：开关电源设备\n2、规格：24V\n3、其他详见图纸","只","1.00","","","","","","按项目部要求及时送货"]
["5","TM20251013111725147f03a","智能网络巡线仪","规格：2路以太网，4路485,4G","规格：2路以太网，4路485,4G","套","1.00","","","","","","按项目部要求及时送货"]
["6","TM202510131117251480da9","通信","型号：通信柜，定制，530w*300h*400d","型号：通信柜，定制，530w*300h*400d","套","1.00","","","","","","按项目部要求及时送货"]
["7","TM20251013111725149e25a","服务器","I5-10500/16G内存/1THDD/21.5显示器","I5-10500/16G内存/1THDD/21.5显示器","台","1.00","","","","","","按项目部要求及时送货"]
["8","TM20251013111725150b05d","UPS电源","1.5kva/900w，待机60分钟","1.5kva/900w，待机60分钟","台","1.00","","","","","","按项目部要求及时送货"]
["9","TM202510131117251502164","操作平台","电脑桌子含桌椅1100x800、包含槽钢基础等","电脑桌子含桌椅1100x800、包含槽钢基础等","件","1.00","","","","","","按项目部要求及时送货"]
["10","TM20251013111725151aa64","双绞屏蔽线","规格：屏蔽双绞线RVSP2X1.0","规格：屏蔽双绞线RVSP2X1.0","m","300.00","","","","","","按项目部要求及时送货"]
["11","TM202510131117251527652","网线","五类网线","五类网线","m","300.00","","","","","","按项目部要求及时送货"]
["12","TM2025101311172515207e0","槽式直通电缆桥架","（封闭式）金属桥架100*100mm","（封闭式）金属桥架100*100mm","m","20.00","","","","","","按项目部要求及时送货"]
["13","TM202510131117251530d34","UPVC异径三通","1、规格：PVC-U三通 dn40Xdn25\n2、位置：1楼给水管接出","1、规格：PVC-U三通 dn40Xdn25\n2、位置：1楼给水管接出","只","1.00","","","","","","按项目部要求及时送货"]
["14","TM20251013111725154e4ae","快开铁水咀","1、材质：水龙头铸铁\n2、规格：dn25","1、材质：水龙头铸铁\n2、规格：dn25","个","1.00","","","","","","按项目部要求及时送货"]
["15","TM20251013111725154307e","等边角钢","钢材品种、规格：零星钢结构制作（L80*L80*8角钢）刷防锈漆，喷砂除锈","钢材品种、规格：零星钢结构制作（L80*L80*8角钢）刷防锈漆，喷砂除锈","kg","629.00","","","","","","按项目部要求及时送货"]
["16","TM202510131117251559a55","玻璃钢格栅板","盖板规格型号：玻璃钢格栅盖板40厚、每块尺寸0.8*0.8","盖板规格型号：玻璃钢格栅盖板40厚、每块尺寸0.8*0.8","m2","10.24","","","","","","按项目部要求及时送货"]
["17","TM202510131117251569e87","石膏板","1、墙体类型：轻龙骨石膏板内隔墙","1、墙体类型：轻龙骨石膏板内隔墙","m2","38.94","","","","","","按项目部要求及时送货"]
["18","TM2025101311172515790ab","防火门","FM甲1224","FM甲1224","樘","2.00","","","","","","按项目部要求及时送货"]
["19","TM20251013111725158a5e2","踢脚线","木质踢脚线","木质踢脚线","m2","24.12","","","","","","按项目部要求及时送货"]
["20","TM202510131117251592636","不锈钢钢化白玻璃隔断","隔断材料品种、规格、颜色：新建成品蹲坑隔断（含门）","隔断材料品种、规格、颜色：新建成品蹲坑隔断（含门）","m2","16.20","","","","","","按项目部要求及时送货"]
["21","TM202510131117251643668","单联开关","1、名称：单联开关（暗装的）\n2、规格：~250V 10A","1、名称：单联开关（暗装的）\n2、规格：~250V 10A","只","3.00","","","","","","按项目部要求及时送货"]
["22","TM202510131117251652fde","双控双联开关","1、名称：双联开关（暗装的）\n2、规格：~250V 10A","1、名称：双联开关（暗装的）\n2、规格：~250V 10A","只","1.00","","","","","","按项目部要求及时送货"]
["23","TM20251013111725165ccfb","明插座(两级带接地插座)","安全型二、三孔（4个明插座，4个暗插座）\n2、规格：~250V 10A","安全型二、三孔（4个明插座，4个暗插座）\n2、规格：~250V 10A","只","8.00","","","","","","按项目部要求及时送货"]
["24","TM202510131117251665c75","铜芯辐照交联低烟无卤阻燃聚乙烯绝缘电线","型号：WDZ-BYJ-3X4MM2","型号：WDZ-BYJ-3X4MM2","m","150.00","","","","","","按项目部要求及时送货"]
["25","TM202510131117251672350","PVC管","规格：SC25","规格：SC25","m","150.00","","","","","","按项目部要求及时送货"]
["26","TM2025101311172516720ef","铜芯辐照交联低烟无卤阻燃聚乙烯绝缘电线","型号：WDZ-BYJ-3X2.5MM2","型号：WDZ-BYJ-3X2.5MM2","m","50.00","","","","","","按项目部要求及时送货"]
["27","TM20251013111725168356a","PVC管","规格：SC20","规格：SC20","m","50.00","","","","","","按项目部要求及时送货"]
["28","TM20251013111725169452a","电力电缆","型号：ZNC-YJV-0.6/1-5x4","型号：ZNC-YJV-0.6/1-5x4","m","900.00","","","","","","按项目部要求及时送货"]
["29","TM20251013111725169897a","不锈钢无缝钢管","规格：RC32","规格：RC32","m","60.00","","","","","","按项目部要求及时送货"]
["30","TM202510131117251703e3d","铜芯聚氯乙烯绝缘铜丝编织屏蔽聚氯乙烯护套控制电缆","型号：ZR-KWP-5x1.5","型号：ZR-KWP-5x1.5","m","1200.00","","","","","","按项目部要求及时送货"]
["31","TM202510131117251713bb9","不锈钢无缝钢管","规格：RC32","规格：RC32","m","60.00","","","","","","按项目部要求及时送货"]
["32","TM202510131117251718d79","阻燃聚氯乙烯护套铜丝编织屏蔽控制电缆","型号：ZR-KWP-14x1.5","型号：ZR-KWP-14x1.5","m","1200.00","","","","","","按项目部要求及时送货"]
["33","TM20251013111725172dbd4","不锈钢无缝钢管","规格：RC32","规格：RC32","m","60.00","","","","","","按项目部要求及时送货"]
["34","TM20251013111725173761c","铜芯辐照交联低烟无卤阻燃聚乙烯绝缘电线","型号：WDZ-BYJ-3X2.5MM2","型号：WDZ-BYJ-3X2.5MM2","m","10.00","","","","","","按项目部要求及时送货"]
["35","TM2025101311172517427be","不锈钢无缝钢管","规格：RC32","规格：RC32","m","10.00","","","","","","按项目部要求及时送货"]
["36","TM20251013111725174cbe0","铜芯辐照交联低烟无卤阻燃聚乙烯绝缘电线","型号：WDZ-BYJ-3X2.5MM2","型号：WDZ-BYJ-3X2.5MM2","m","10.00","","","","","","按项目部要求及时送货"]
["37","TM2025101311172517574ea","不锈钢无缝钢管","规格：RC32","规格：RC32","m","10.00","","","","","","按项目部要求及时送货"]
["38","TM20251013111725176eea0","铜芯辐照交联低烟无卤阻燃聚乙烯绝缘电线","1.名称：WAC03\n2、型号：WDZ-BYJ-3X4MM2","1.名称：WAC03\n2、型号：WDZ-BYJ-3X4MM2","m","5.00","","","","","","按项目部要求及时送货"]
["39","TM202510131117251769f52","不锈钢无缝钢管","规格：RC32","规格：RC32","m","5.00","","","","","","按项目部要求及时送货"]
["40","TM2025101311172517779b0","铜芯辐照交联低烟无卤阻燃聚乙烯绝缘电线","1、名称：电缆\n2、位置：变频室空调电缆，低压配电柜\n3、型号：WDZ-BYJ-5X6MM2","1、名称：电缆\n2、位置：变频室空调电缆，低压配电柜\n3、型号：WDZ-BYJ-5X6MM2","m","100.00","","","","","","按项目部要求及时送货"]
["41","TM2025101311172517835fa","不锈钢无缝钢管","规格：RC32","规格：RC32","m","10.00","","","","","","按项目部要求及时送货"]
["42","TM202510131117251782422","不锈钢管","1、规格：D57X3.5不锈钢管304\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：D57X3.5不锈钢管304\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","kg","42.18","","","","","","按项目部要求及时送货"]
["43","TM2025101311172517982fa","钢制弯头","1、规格：DN57X3.5 90°钢制弯头\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN57X3.5 90°钢制弯头\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","个","8.00","","","","","","按项目部要求及时送货"]
["44","TM2025101311172518089eb","挠性接头","1、规格：DN50挠性接头\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN50挠性接头\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","件","1.00","","","","","","按项目部要求及时送货"]
["45","TM20251013111725180a69c","不锈钢闸阀","1、规格：DN150闸阀（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN150闸阀（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","台","1.00","","","","","","按项目部要求及时送货"]
["46","TM2025101311172518146e8","不锈钢电动球阀","1、规格：DN50电动阀（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN50电动阀（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","套","1.00","","","","","","按项目部要求及时送货"]
["47","TM20251013111725182a25a","不锈钢止回阀","1、规格：dn50止回闸阀（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：dn50止回闸阀（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","只","1.00","","","","","","按项目部要求及时送货"]
["48","TM20251013111725182a73b","排气阀","1、规格：排气阀电动dn50\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：排气阀电动dn50\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","只","1.00","","","","","","按项目部要求及时送货"]
["49","TM20251013111725183aa8e","钢制三通","1、种类：dn150x50钢制三通（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、种类：dn150x50钢制三通（不锈钢）\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","个","1.00","","","","","","按项目部要求及时送货"]
["50","TM20251013111725184f70c","铜浮球阀","1、规格：浮球阀dn50\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：浮球阀dn50\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","套","1.00","","","","","","按项目部要求及时送货"]
["51","TM20251013111725184e8a5","Y型过滤器","1、规格：Y型过滤器\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：Y型过滤器\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","个","1.00","","","","","","按项目部要求及时送货"]
["52","TM202510131117251856ddf","钢制三通","1、规格：DN50钢制法兰\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN50钢制法兰\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","个","9.00","","","","","","按项目部要求及时送货"]
["53","TM20251013111725186d11c","平面对焊钢制法兰","1、规格：DN150钢制法兰\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN150钢制法兰\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","只","3.00","","","","","","按项目部要求及时送货"]
["54","TM20251013111725186b6b5","PE法兰盘","1、规格：DN150pe法兰盘\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：DN150pe法兰盘\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","个","1.00","","","","","","按项目部要求及时送货"]
["55","TM20251013111725187ed35","法兰闸阀","1、规格：dn50闸阀\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","1、规格：dn50闸阀\n2、具体参数及技术要求详见设计图纸及施工图设计总说明","只","1.00","","","","","","按项目部要求及时送货"]
["56","TM20251013111725187a49f","电动蝶阀","型号DN900,Ds343H-16 ，耐温≥150℃,电压380V,功率5.5KW，智能电子一体式。","型号DN900,Ds343H-16 ，耐温≥150℃,电压380V,功率5.5KW，智能电子一体式。","台","6.00","","","","","","按项目部要求及时送货"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]