{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","6301010231","可逆自动下调心托辊组托辊架","带宽800 辊径108","","套","20.00","","","","","","#3、#4皮带调偏托辊架损坏更换，直发阿克苏电厂"]
["2","6602020021","气动蝶阀（含远传信号开关）","773Z-3GD-200A","","套","4.00","","","","","","#2活性炭过滤器反洗进水门内漏更换；#1、2超滤反洗排水门内漏更换（用三备一），直发阿克苏电厂"]
["3","6702260009","机械密封","1527-50（316钢材）","","个","2.00","","","","","","#2超滤给水泵使用（用一备一），直发阿克苏电厂"]
["4","6899989896","刚性行走轮","DZC223.6","","套","1.00","","","","","","重调机行走轮，直发阿克苏电厂"]
["5","TM202504161543014517bc8","搅拌器叶轮","搅拌器轴型号：SA65-2600T4/LR、搅拌器型号：XCJ1150-65T1/1R","湿磨机浆液箱搅拌器搅拌传动装置","套","2.00","","","","","","湿磨机浆液箱搅拌器搅拌传动装置：电机型号：Y100L1-4、减速机型号：SICE36B22.4、机架型号：JXD45B、/浙江长城减速机有限公司（外层防腐材质（碳化硅）、带配套螺栓），直发阿克苏电厂"]
["6","TM202504161543014523f1d","机械密封","动环内径φ35mm外径φ49.5mm高47.5mm静环内径φ36mm外径φ49.5mm高8.5mm泵型号KQWH100-160A流量85m3/h","","套","2.00","","","","","","必需气蚀余量：4.5m，扬程：30m、配套功率：11-2KW、转速：2960r/min、/上海凯泉泵业（集团）有限公司，直发阿克苏电厂"]
["7","TM202504161543014534b67","GR对轮","电机侧轴径φ55mm长110mm键槽宽16mm高5mm泵侧轴径φ32mm长78mm键槽宽10mm高4mm对轮总长328mm","对轮材质：42CrMo（配套GR缓冲垫、材质：聚氨酯）","套","2.00","","","","","","化水#2、3超滤给水泵对轮更换使用/，直发阿克苏电厂"]
["8","TM20250416154301454c0da","电动蝶阀（不带电动头）","D971X-16 DN100","","台","2.00","","","","","","脱硫#1工艺水泵出口门内漏更换/，直发阿克苏电厂"]
["9","TM20250416154301455a83a","气动蝶阀（含远传信号开关）","773Z-3GD-80A（TOMOE）","","台","2.00","","","","","","#4活性炭过滤器进汽门内漏更换/，直发阿克苏电厂"]
["10","TM2025041615430145532cd","气动蝶阀（含远传信号开关）","773Z-3GD-40A（TOMOE）","","台","2.00","","","","","","#4活性炭过滤器排放阀内漏更换/，直发阿克苏电厂"]
["11","TM20250416154301456f145","不锈钢转接头","304材质内丝6分 转外丝M27*1.5","","个","20.00","","","","","","脱硫电动执行机构整改/，直发阿克苏电厂"]
["12","TM202504161543014573611","不锈钢转接头","304材质内丝1寸 转外丝M36*1.5","","个","10.00","","","","","","脱硫电动执行机构整改/，直发阿克苏电厂"]
["13","TM202504161543014575cee","无线遥控器","CD电动葫芦F21-6s 36V","","个","2.00","","","","","","脱硫湿磨机起重机使用/，直发阿克苏"]
["14","TM2025041615430145855b5","继电器","RFT2CO024L COIL:24VDCV 2开2闭8脚","","块","10.00","","","","","","化水中水深度处理DCS控制柜使用/，直发阿克苏"]
["15","TM202504161543014599e63","电磁阀","G531C1017MS DC24V接口口径:G1/4 带配套线圈及插头","","个","20.00","","","","","","电除尘进料、平衡、补气、进气阀使用/，直发阿克苏"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]