{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":22,"n_cols":13,"rows_kept":22,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202505161642552198805","双电源自动转换开关","CDQ3-63 4P","","只","2.00","","","","","","郭家河"]
["2","TM20250516164255222f36f","照明、行灯变压器","JMB 容量0.4kvA 频率50HZ 初级电压220v 次级电压127v","","个","1.00","","","","","","芦家窑-或相当于华通机电股份"]
["3","TM20250516164255222bebf","变频器变压器","DG-1000-Ⅱ（YD）","","台","1.00","","","","","","玉华-或相当于山西际安"]
["4","TM20250516164255223f6ae","变频器","ACS150-03E-05A6-4 2.2KW","ABB","台","2.00","","","","","","天山-附图 带重载"]
["5","TM20250516164255224a25c","欧姆龙继电器模组","G2R-1-E/DC12v/12路","","件","2.00","","","","","","新安"]
["6","TM20250516164255225a2d0","聚酰亚胺-氟46复合膜绕包铜圆线","MYFE-4 1.4mm","","kg","60.00","","","","","","花草滩"]
["7","TM20250516164255226986c","聚酰亚胺-氟46复合膜绕包铜圆线","MYFE-4 1.5mm","","kg","60.00","","","","","","花草滩"]
["8","TM20250516164255227cdfe","金属氧化物避雷器","HY5WZ-17/45 (L=150mm) 额定电压：17KV持续运行电压：13.6KV","","只","6.00","","","","","","花草滩"]
["9","TM20250516164255228e8fd","电动机综合保护器","AS-13 380V FBCDZ№30-2*560","","只","1.00","","","","","","花草滩-或相当于山西渝煤科安运风机"]
["10","TM20250516164255228b48b","控制变压器","BKC-150VA","","台","3.00","","","","","","天山"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]