{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":33,"n_cols":13,"rows_kept":33,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250516164703057b002","煤矿用聚氯乙烯绝缘聚氯乙烯护套电力电缆","MVV-0.6/1KV 4*2.5","","m","100.00","","","","","","各矿"]
["2","TM20250516164703059bb59","带灯按钮","LA38-203 Ui400V 10A 220v/380v 带两组常开 绿色","","只","5.00","","","","","","各矿"]
["3","TM20250516164703060a41f","交流接触器","LC1-D65 M7C 220V","","只","4.00","","","","","","华美热电"]
["4","TM202505161647030610a71","交流接触器","LCID95M7C 220V","","只","4.00","","","","","","华美热电"]
["5","TM202505161647030628858","热继电器","LRD21C/12-18A","","只","4.00","","","","","","华美热电"]
["6","TM202505161647030638d9b","热继电器","LRD32C 23-32A","","只","4.00","","","","","","华美热电"]
["7","TM20250516164703064f1cb","施耐德热继电器底座","LAD 7B106","","个","5.00","","","","","","华美热电"]
["8","TM2025051616470306515e9","电铃","UC4-6 150mm AC220V 30W","","个","20.00","","","","","","华美热电-或相当于德力西"]
["9","TM202505161647030663112","硅表电机","RS-555PC-22120 QN084718CCWWC","","个","2.00","","","","","","华美热电"]
["10","TM202505161647030669687","直流信号隔离器","WS21522 而入二出，输入2-10V，输出4-20ma","","个","4.00","","","","","","华美热电"]
["11","TM202505161647030675e1e","西门子工业以太网电缆","6XV1840-3AH10（四芯）","","m","100.00","","","","","","徐矿电厂-型号符合"]
["12","TM202505161647030683bc3","电力软电缆","ZR-YJV-0.6/1kV 4*1.5","","m","300.00","","","","","","徐矿电厂-C10除铁器用"]
["13","TM20250516164703069abdb","交流接触器","CJX8-170, UI：690V, Ith：230A、50Hz, Uimp：8KV.","","只","1.00","","","","","","徐矿电厂-或相当于人民电器"]
["14","TM202505161647030702dbe","断路器","RMC1-63 D40 4P","","只","2.00","","","","","","徐矿电厂-型号符合"]
["15","TM20250516164703071c38c","漏电断路器","DZ47LE-40/3PTN 380V","","只","6.00","","","","","","徐矿电厂-或相当于德力西"]
["16","TM20250516164703072c730","万能转换开关","LW5D-16 YH3/3","","个","1.00","","","","","","徐矿电厂-型号符合"]
["17","TM202505161647030724701","电焊机快速接头","DKJ10-25","","件","10.00","","","","","","徐矿电厂-型号符合"]
["18","TM20250516164703073ab4e","立式电机","YS7134,0.55kW,1440r/min","","台","1.00","","","","","","徐矿电厂-型号符合"]
["19","TM202505161647030746305","变频调速三相异步电机","YVF2-90S-4 1.1KW","","台","1.00","","","","","","徐矿电厂-型号符合，配套散热风机G-90 380V"]
["20","TM2025051616470307426e7","交流接触器","CJX2-6511","","只","10.00","","","","","","天山"]
["21","TM20250516164703075608b","电机保护器","ARD3-25J/L+90L","","件","1.00","","","","","","天山-或相当于江苏安科瑞电器"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]