{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":21,"n_cols":13,"rows_kept":21,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202506160833212138372","橡胶板","δ=2    NBR","","m2","5.00","","","","","","大修垫片制作"]
["2","TM202506160833212159dfe","全螺纹螺栓带双母","M14*90，带管法兰专用螺母两个M16 304 HG/T20634-2009","304","套","8.00","","","","","","动力湿酸气母管减压阀前压力表增加根部阀"]
["3","TM20250616083321216d86c","全螺纹螺栓带双母","M16*300 带管法兰专用螺母M16  35CrMoA/30CrMoL   HG/T20634-2009","","套","28.00","","","","","","PV2226A/B阀门用（大检修仪表41项）"]
["4","TM202506160833212172022","全螺纹螺栓带双母","M20*350带管法兰专用螺母两个M20  304    HG/T20634-2009","304","套","8.00","","","","","","渣水LV1417A/B阀门拆除下线清理"]
["5","TM20250616083321217253b","全螺纹螺栓带双母","M36*3*255 带管法兰专用螺母,M36 35CrMoA/30CrMo,HG/T20634-2009","","套","20.00","","","","","","系统隔离法兰螺栓更换/低甲去新合成第二道手阀。"]
["6","TM202506160833212180882","全螺纹螺栓带双母","M36*3*250 带管法兰专用螺母,M36  304,HG/T20634-2009","","套","56.00","","","","","","LV2123用（大检修调节阀维修20项）LV2113用（大检修调节阀维修27项）"]
["7","TM202506160833212195fd2","全螺纹螺柱带双母","M48*3*350   HG/T20634-2009 Full thread bolt w/2nts 35CrMoL-85/30CrMoL HG20634-2009 , 螺柱：-85℃低温冲击试验","","套","24.00","","","","","","V2201隔离"]
["8","TM202506160833212206873","全螺纹螺柱带母","M64*3*470  8.8级  带管法兰专用螺母M64  35CrMo/30CrMo  HG/T20634-2009","","套","20.00","","","","","","R2101进口阀。"]
["9","TM2025061608332122107c5","全螺纹螺柱带双母","M76×3×560  8.8级  带管法兰专用螺母M76 35CrMo/30CrMo HG/T20634-2009","","套","20.00","","","","","","R2101出口"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]