{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","6799000104","机封","40DT-A17；扬程：42m；流量12m3/h；必需气蚀余量：4.5m；轴功率：4.4KW；转速2900r/min；效率：40%；配用功率：7.5KW；粒度：≤11mm；重量：80kg；石家庄工业泵厂有限公司","","套","2.00","","","","","","直发阿克苏电厂，HM74D/45SGA-1103399；脱硫泵型号：40DT-A17，1-1、1-2石灰石浆液泵使用"]
["2","TM2025050910273479813c9","定位块","/阿克苏电厂","材质16Cr20Ni14Si2 尺寸：1000*1500mm δ4","m2","1.50","","","","","","机务：炉本体使用/"]
["3","TM20250509102734800cc56","定位块","/阿克苏电厂","材质16Cr20Ni14Si2 尺寸：1000*1500mm δ6","m2","3.00","","","","","","机务：炉本体使用/"]
["4","TM202505091027348018f4d","定位块","/阿克苏电厂","材质16Cr20Ni14Si2 尺寸：1000*1500mm δ8","m2","1.50","","","","","","机务：炉本体使用/"]
["5","TM20250509102734802dee0","给煤机下托辊","/阿克苏电厂","DT800-00；原厂家：赛摩集团公司","个","4.00","","","","","","机务：给煤机使用/"]
["6","TM20250509102734803bde4","铰轴座","/阿克苏电厂","ZGM80G-Ⅲ（含轴销）","套","3.00","","","","","","机务：1-3磨煤机使用/"]
["7","TM202505091027348044531","机械密封","/阿克苏电厂","A108-45（108U-45）YOYIK（重要辅机备件，特殊机械密封）","套","1.00","","","","","","定冷水泵，B修计划，需求日期：2025年7月份/"]
["8","TM20250509102734806d39e","主控板","/阿克苏电厂","配套RAⅢ130AF16B温州瑞基使用","块","1.00","","","","","","热控材料 现场温州瑞基电动执行机构使用/"]
["9","TM202505091027348072ffc","阀门填料","/阿克苏电厂","IR-3Z（符合戴蒙德电力机械（湖北）有限公司参数标准）","套","5.00","","","","","","机务：短吹使用/"]
["10","TM202505091027348074c33","空气阀","/阿克苏电厂","IR-3Z（符合戴蒙德电力机械（湖北）有限公司参数标准）","个","10.00","","","","","","机务：短吹使用/"]
["11","TM2025050910273480894b0","机械限位器","/阿克苏电厂","IR-3Z（符合戴蒙德电力机械（湖北）有限公司参数标准）","套","20.00","","","","","","机务：短吹使用/"]
["12","TM2025050910273480983ec","空气阀","/阿克苏电厂","IK-530（符合戴蒙德电力机械（湖北）有限公司参数标准）","个","3.00","","","","","","机务：长吹使用/"]
["13","TM202505091027348103836","机械限位板（多孔）","/阿克苏电厂","IK-530（符合戴蒙德电力机械（湖北）有限公司参数标准）","个","4.00","","","","","","机务：长吹使用/"]
["14","TM20250509102734811bae2","弹簧","/阿克苏电厂","IK-530（符合戴蒙德电力机械（湖北）有限公司参数标准）","套","10.00","","","","","","机务：长吹使用/"]
["15","6014070107","加热器","DYK50（II）  50KW  380V/220V  出口通径：150mm","","台","2.00","","","","","","附铭牌"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]