{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":20,"n_cols":13,"rows_kept":20,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250806110320036977b","内螺纹球阀","Q11F-16P DN20 (3/4″)   304，介质：循环水；适用温度≤200℃。","","个","6.00","","","","","","离心机冲洗水手阀"]
["2","TM20250806110320038a9d6","内螺纹球阀","Q11F-16P DN25 (1″)    304","","个","6.00","","","","","","仓泵取样阀更换"]
["3","TM202508061103200398f90","三片式内螺纹球阀","Q11F-16P，DN15,内螺纹连接，适用介质：循环水；不锈钢304材质；公称压力0-1.6MPa","","件","2.00","","","","","","气化A炉分析仪表预处理箱循环水用"]
["4","TM202508061103200409b64","蝶阀","D371X-10C   DN150  WCB/橡胶  GB/T 12238-2008","","台","3.00","","","","","","脱盐水超滤管线"]
["5","TM202508061103200410273","对夹式止回阀","H74F46-10C DN100  温度小于等于150摄氏度   材质：304","","台","1.00","","","","","","P23A02AB出口"]
["6","TM202508061103200419f24","疏水阀","CS41H-16C DN80 WCB/13Cr","","台","20.00","","","","","","锅炉吹灰器用填料"]
["7","TM20250806110320042c259","摆动进料阀","HFKD-XZDN200-01TC","锅炉仓泵进料阀更换","台","10.00","","","","","","锅炉仓泵进料阀更换，含更换短接"]
["8","TM2025080611032004389d5","阀门手柄","手轮内径8*8mm 方孔+螺帽+垫片M8 环保喷塑,加厚","","件","6.00","","","","","","气化炉碳洗塔出口流量计检修"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]