{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":25,"n_cols":13,"rows_kept":25,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250402163455178fadd","闸阀","Z41H-16C   DN25  RF A105/13Cr","","台","1.00","","","","","","曝气生物滤池进水泵出口新增甲醇管线"]
["2","TM20250402163455179130c","法兰闸阀","Z41W-16P   DN50  RF  316L","","台","1.00","","","","","","动力湿酸气压力表根部阀检修"]
["3","TM20250402163455180bc32","闸阀","DZ45X-10Q DN150 L=270mm，介质：水，温度：85℃","","台","1.00","","","","","","脱盐水厂房外生活水阀门"]
["4","TM202504021634551817261","球阀手柄","配用阀门 DN25 阀门轴头 扁孔：16*10 扁头尺寸：直径23 厚度12 总长165mm 材质：Q235A","附图","个","21.00","","","","","","动力脱硫阀门缺手柄"]
["5","TM20250402163455181e2b2","球阀手柄","配用阀门 DN40 阀门轴头 扁孔：20*14 扁头尺寸：直径31 厚度16 总长240mm材质：Q235A","附图","个","2.00","","","","","","动力脱硫阀门缺手柄"]
["6","TM20250402163455182deaa","球阀手柄","配用阀门 DN40 阀门轴头 扁孔：20*14 扁头尺寸：直径31 厚度16 总长240mm材质：Q235A","附图","个","56.00","","","","","","动力脱硫/布袋除尘器阀门缺手柄"]
["7","TM202504021634551826170","蝶阀","D371F46-10C，DN50 PN10  WCB/F46全衬氟","","台","2.00","","","","","","尖峰冷水箱放水阀"]
["8","TM2025040216345518343f6","法兰旋启式止回阀","H44Y-16C DN25 RF WCB/SLT","","台","1.00","","","","","","曝气生物滤池进水泵出口新增甲醇管线"]
["9","TM2025040216345518338d3","疏水阀","TB11F-16C,DN15,PN1.6Mpa,RF,A105/13Cr","","台","5.00","","","","","","硫回收疏水阀更换"]
["10","TM202504021634551848247","隔膜","旁滤器三通阀配套，4\"VICTAUNIC    橡胶","循环水旁滤器","套","2.00","","","","","","循环水旁滤器三通阀检修"]
["11","TM20250402163455184e3ca","阀门手轮","轴内径25mm,手轮外径430mm，材质铸铁，销钉连接m6。（具体连接尺寸需厂家现场测绘）","气化B炉HV1331B阀门检修","个","1.00","","","","","","气化B炉HV1331B阀门检修"]
["12","TM20250402163455184e86b","阀门手柄","外径77  中间方孔8*8  铸钢","带螺帽","件","4.00","","","","","","动力锅炉汽包液位计排污阀首轮增补"]
["13","TM20250402163455185bc8c","止回阀","ZHF-40\t镀锌","锅炉仓泵（无锡中冶环保科技有限公司）","件","6.00","","","","","","锅炉仓泵用"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]