{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":25,"n_cols":13,"rows_kept":25,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250307095055950c068","交流接触器","CJ20-630/380V","","只","4.00","","","","","","各矿"]
["2","TM2025030709505595209d0","声光电子报警器","KH-11","QD20/5-13.5A5","件","1.00","","","","","","各矿-机电工区-通用桥式起重机-河南省矿山起重机"]
["3","TM202503070950559547aa3","声光电子报警器","KH-11","QD50/10-22.5A5","件","1.00","","","","","","各矿-机电工区-通用桥式起重机-河南省矿山起重机"]
["4","TM202503070950559553e5d","兆欧表","ZC11D-5 2500V 0-10000MΩ","","只","1.00","","","","","","各矿"]
["5","TM202503070950559551396","小型中间继电器","HH52P 5A 250V/AC","","只","3.00","","","","","","郭家河"]
["6","TM202503070950559565e1a","熔断器","R015 φ10*38/12A 500V","","个","10.00","","","","","","郭家河"]
["7","TM2025030709505595741c6","防爆配电装置","BXM(D)-8K","","件","5.00","","","","","","郭家河-附图"]
["8","TM20250307095055958d2dc","接近开关","E2E- X18ME1 NPN(常开） 200mA DC6-36V","","只","6.00","","","","","","张双楼"]
["9","TM20250307095055959eee1","电磁阀","2W-250-25","","只","2.00","","","","","","百贯沟"]
["10","TM2025030709505596004aa","变频器","ND660-4T-55G","","个","1.00","","","","","","森泰"]
["11","TM202503070950559607267","煤矿用移动轻型橡套软电缆","MYQ-500V 3*4+1*2.5","","m","2000.00","","","","","","花草滩"]
["12","TM20250307095055961f2f5","室内电话线","HBYV 2*0.4","","m","300.00","","","","","","各矿"]
["13","TM20250307095055962cb1d","矿用电源线","MVV 3*2.5",".","m","2000.00","","","","","","各矿-智能化办公室材料"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]