{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":22,"n_cols":13,"rows_kept":22,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","2499033218","O型圈","外径320*17  （耐油橡胶Ⅱ-4）","","件","4.00","","","","","","下述物资均直发华美电厂，为急用物资；耐油耐高温橡胶，邵尔A型硬度85±5"]
["2","2702661511","电磁阀","ASCO   SCG353A047   40mm   DC24V","","台","6.00","","","","","","直发华美电厂"]
["3","6015020013","对轮橡胶缓冲垫","44*26.5*9.5","","个","100.00","","","","","","直发华美电厂"]
["4","6015070005","电磁隔膜计量泵","LPH6MB-PTC3-XXX","","个","2.00","","","","","","原生产厂家帕斯霏达，压头，流量，联接管大小能与原设备配套使用，包含一套上下口的单向阀"]
["5","6015070007","电磁隔膜计量泵膜片","LPH6MB-PTC3-XXX","","个","6.00","","","","","","原生产厂家帕斯霏达，压头，流量与原设备配套使用"]
["6","6499000326","电磁阀","SDKE-1631/2/A-DC 10S/PE","ATOS 24DC","只","2.00","","","","","","ATOS 24DC"]
["7","6499000327","电磁阀","SDKE-1631/2-DC 10/PE","ATOS 24DC","只","2.00","","","","","","ATOS 24DC"]
["8","6499000328","比例阀","DHZO-A-073-L5 20/PE","线 圈6-0Z0A-202100-12F/PE","只","2.00","","","","","","ATOS线圈6-OZOA-202100-12F/PE"]
["9","6803040440","安全阀阀芯","HP-SS-1010-00J-CL5-10”压力:3.8MPa 设计压力:3.8468MPa 温度:>570℃","","个","2.00","","","","","","直发华美电厂"]
["10","6602080005","EDI膜","EDI-CR10N","","支","17.00","","","","","","原使用中凯瑞普产品含配件,附技术要求"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]