{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":15,"n_cols":13,"rows_kept":15,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["徐州长城基础工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM202508251419116909478","分户改造装置","1、名称：分户改造装置 2、风盘机2P  3、NTC20K传感器  4、DN25电动调节阀  5、TC8800FN485温控器  6、DN20电动两通阀  7、循环泵  8、冷凝水提升泵  9、包含电线、线管、软接、复合管道、管件及辅材等","","套","16.00","","","","","","（1）投标报价包括但不限于人工费、材料费、机械费、检测费、措施费、管理费、利润、规费、各种保险费、关系协调费、各种成品保护费用、赶工费等全部费用"]
["2","TM20250825141911692cf67","分户改造装置（样板间）","风盘机2P、NTC20K传感器、DN25电动调节阀、TC8800FN485温控器、DN20电动两通阀、循环泵、包含电线、线管、软接、复合管道、管件及辅材等、空调柜机3P、空气能3P、冷凝水提升泵","","套","1.00","","","","","","（1）投标报价包括但不限于人工费、材料费、机械费、检测费、措施费、管理费、利润、规费、各种保险费、关系协调费、各种成品保护费用、赶工费等全部费用"]
["3","TM20250825141911693edf1","地源（水源、气源）热泵机组","1.水源热泵机组（材料甲供）  2.材质及规格: 制冷量310KW 制热量 295KW  制冷功率 46KW 制热功率 70KW","","台","1.00","","","","","","（1）投标报价包括但不限于人工费、材料费、机械费、检测费、措施费、管理费、利润、规费、各种保险费、关系协调费、各种成品保护费用、赶工费等全部费用"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]