{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":20,"n_cols":13,"rows_kept":20,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["苏能（锡林郭勒）发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250904151848948e1ee","计量泵备件","HP4AH101000PCT01001000：阀球座，代码740539；阀球垫：代码792510；成型密封垫;1019367（每个需要三个）","","套","3.00","","","","","","化学-普罗名特计量泵使用，需备注供货周期"]
["2","TM202509041518489501293","计量泵备件","Vamd12042pp1090s000：阀球座;代码800640；阀球垫代码800641；O型圈代码480424和480411（每个需要三个）","","套","3.00","","","","","","化学-普罗名特计量泵使用，需备注供货周期"]
["3","TM2025090415184895132c8","计量泵备件","hac2h028161pct100010a00en；阀球座代码740539；阀球垫：代码阀球垫：代码792510；成型密封垫;1019367；成型密封垫;1019367（每个需要四个）","","套","4.00","","","","","","化学-普罗名特计量泵使用，需备注供货周期"]
["4","TM202509041518489527ad4","计量泵备件","hp4160560pvt100mr0000。阀球座，代码740539；阀球垫：代码792510；成型密封垫;1019367（每个需要一个）","","套","1.00","","","","","","化学-普罗名特计量泵使用，需备注供货周期"]
["5","TM20250904151848952896c","计量泵备件","\"hac1h01425pvt；100mr0c00zh；hac1065030pvt；100mr0c00zh， hac065019pvt100mr0c00zh阀球座代码1002269成型密封垫代码1019364；O形圈代码1122797和1121429\"（每个需要五个）","","套","5.00","","","","","","化学-普罗名特计量泵使用，需备注供货周期"]
["6","TM202509041518489534685","计量泵备件","hac2028250pvt100mr0a00zh阀球座代码；740539；阀球垫代码792510（每个需要二个）","","套","2.00","","","","","","化学-普罗名特计量泵使用，需备注供货周期"]
["7","TM202509041518489544c15","反渗透保安过滤器滤芯","【颇尔Pall】水滤芯\\φ152.4×1016\\精度5μm\\β≥2000\\除颗粒\\PP\\EPDM","","根","28.00","","","","","","化学——反渗透保安过滤器滤芯，需备注供货周期。选用品牌：美国PALL、德国Atech、德国贺德克Hydac"]
["8","TM202509041518489557cf6","反渗透膜","陶氏BW30-400/34-FR；脱盐率≥99.5；外经8”膜面积(ft2)400","","支","24.00","","","","","","化学——反渗透制水设备使用，需备注供货周期。选用品牌：陶氏（杜邦）、海德能、旭化成"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]