{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":40,"n_cols":13,"rows_kept":40,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","1901032006","钢丝绳卡头","6mm    材质：304","","个","100.00","","","","","","型号符合，现场固定拉绳开关"]
["2","1910381010","螺旋道钉","M24*195（带螺母平垫弹垫）","","套","15.00","","","","","","型号符合"]
["3","1930160030","水泥钉","30mm","","kg","1.00","","","","","","型号符合要求"]
["4","1939011360","气管外螺纹快拧直接头","1/2*φ10","","只","60.00","","","","","","304不锈钢材质，一端为1/2"]
["5","1939071004","气动接头","PC外螺纹直通接头 PC10-04 气管直径10mm，螺纹直径3/4\"","","只","60.00","","","","","","304不锈钢材质，一端为20mm的外螺纹，一端接外径10mm的软管，超滤底部软管接头锈蚀批量更换"]
["6","1942210026","不锈钢内丝变径","25*20mm","","只","8.00","","","","","","符合规格型号标准。"]
["7","1944140050","焊接弯头","50mm","","只","10.00","","","","","","DN50，材质：304不锈钢，厚度：4mm。"]
["8","1944170159","冲压弯头","159*5.0mm  Q235B","","只","10.00","","","","","","符合规格型号标准。"]
["9","1947101025","平焊法兰盘","DN25 PN16 RF","","片","6.00","","","","","","反应沉淀池聚铝加药，材质316L，尺寸符合国标。"]
["10","1947101032","平焊法兰盘","DN32 PN16 RF","","片","6.00","","","","","","反应沉淀池聚铝加药，材质316L，尺寸符合国标。"]
["11","1950302001","钢板网","1.2*1800*3600网格12*30","","m2","30.00","","","","","","型号符合，不锈钢材质"]
["12","1966400048","圆柱十字同心锁","MS401","","个","5.00","","","","","","规格型号正确"]
["13","1966400137","防盗门锁","椭圆款+A小50款锁体","","套","2.00","","","","","","见样品"]
["14","1966400280","U型锁","869-280长","","把","1.00","","","","","","长型U型锁食堂二楼东玻璃门"]
["15","1968200201","单联鹅颈水龙头","白色，鹅颈管高度：400~500mm，主体材质：黄铜，陶瓷阀芯，配生料带一卷，1米金属编织软管一根","-电厂","个","3.00","","","","","","品牌：箭牌 九牧 申鹭达品牌三选一"]
["16","1968200280","面盆水龙头","15mm 单冷","","个","3.00","","","","","","品牌：箭牌，4分口、304不锈钢材质"]
["17","1968200295","面盆冷热水龙头","箭牌：单把单孔","","个","3.00","","","","","","型号：AE41108MGG-1系列"]
["18","1968691010","下垂式水幕喷头","ZSTMA25 ；最小压力：0.1MPA；水幕展角：120-150°","","个","20.00","","","","","","型号符合"]
["19","1973101515","膨胀螺丝","M10 x 100","","个","100.00","","","","","","空气炮改造"]
["20","1973130662","十字沉头内膨胀螺栓","M6*60  碳钢镀锌","","套","100.00","","","","","","要求：锯齿膨胀"]
["21","1973131215","钢膨胀螺栓","M12*150","","只","100.00","","","","","","质量合格"]
["22","1979419121","不锈钢电缆槽盒","材质：304 100*100*1.0 带盖板及安装附件 骑马 铁膨胀 七字扣","","m","20.00","","","","","","空气炮改造"]
["23","1986300210","双头内丝金属软管","4分 长80cm","","根","2.00","","","","","","304不锈钢金属编织软管，两端内丝接头"]
["24","1986900942","加油嘴","M10，黄铜，直嘴，带防尘帽","","个","100.00","","","","","","型号符合，轴承座使用"]
["25","1986900944","加油嘴","不锈钢  M10（90°弯）","","个","40.00","","","","","","型号符合，轴承座使用"]
["26","1986906216","塑料蛇皮波纹管","16mm （内径）","","m","100.00","","","","","","型号符合"]
["27","1986906225","塑料蛇皮波纹管","25mm （内径）","","m","100.00","","","","","","型号符合"]
["28","1986906225","塑料蛇皮波纹管","25mm （内径）","","m","100.00","","","","","","型号符合"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]