{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":23,"n_cols":13,"rows_kept":23,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM2025060409180152138da","网络视频解码器","DH-NVD0405DU-2I    RJ45输入，可接入32路视频，输出4路HDMI，输出接口最大支持1920×1080@60Hz分辨率，具备语音对讲功能，支持视频流播放，画中画显示，支持接入行业安防平台，支持多屏融合拼接，跨屏毫秒级同步。","","台","3.00","","","","","","动力、净化合成、气化增加视频监控"]
["2","TM20250604091801522e04a","DP高清线","DP1.4公对公  8米","","根","1.00","","","","","","消防控制室视频监控电脑用"]
["3","TM2025060409180152412de","DP高清线","DP1.4公对公  3米","","根","3.00","","","","","","消防控制室视频监控电脑用"]
["4","TM2025060409180152548c5","HDMI高清线","10米","","根","1.00","","","","","","主大门门卫室电视连接用"]
["5","TM202506040918015265589","HDMI高清线","10米","","根","9.00","","","","","","动力、净化合成、气化增加视频监控"]
["6","TM202506040918015277189","交换机","8口千兆TL-SG1008D","","台","2.00","","","","","","公司摄像机、网络检维修用"]
["7","TM2025060409180152857d6","5口千兆PoE交换机","TL-SG1005P","","台","2.00","","","","","","公司摄像机、网络检维修用"]
["8","TM202506040918015307a68","千兆单模光纤收发器","TL-FC311A-3+TL-FC311B-3","","对","15.00","","","","","","公司摄像机、网络检维修用"]
["9","TM202506040918015324294","网卡模块组件","EVS71-10G，支持PCIE X8，10000Mbps速率光口，主板供电","","个","2.00","","","","","","动力、净化合成、气化增加视频监控"]
["10","TM202506040918015349cbe","跳线  单模单芯","LC-LC  2M","","根","10.00","","","","","","动力、净化合成、气化增加视频监控"]
["11","TM20250604091801534d367","光模块","SFP-10G-1310nm-10KM-LC","","个","6.00","","","","","","动力、净化合成、气化增加视频监控"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]