{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":28,"n_cols":13,"rows_kept":28,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250411150344735e1f2","ABB交流接触器","ABB   A185D-30","","个","2.00","","","","","","机运西三风机房"]
["2","TM202504111503447376fa3","压力开关","SOR 6NN-K2-N4-FIA-X373","","块","2.00","","","","","","徐矿电厂-符合标准，有合格证"]
["3","TM202504111503447383dfa","压力开关","74V1-E118-N4-C1A","","块","1.00","","","","","","徐矿电厂-符合标准，有合格证"]
["4","TM20250411150344740cf72","压力开关","44V1-K4-N4-C1A","","块","1.00","","","","","","徐矿电厂-符合标准，有合格证"]
["5","TM20250411150344741a9a8","压力开关","SOR 54NN-EE118-N4-CIA -30~0 IN HC","","块","2.00","","","","","","徐矿电厂-符合标准，有合格证"]
["6","TM20250411150344742faee","差压开关","SOR BH-003001-003 3-30PSI 500PSI 1000PSI","","块","1.00","","","","","","徐矿电厂-符合标准，有合格证"]
["7","TM202504111503447438ac0","橡套电缆","YZ 2*1.5","","m","200.00","","","","","","华美热电"]
["8","TM2025041115034474452d8","重型橡套电缆","YC-0.5 3*1.5mm2","","m","100.00","","","","","","华美热电"]
["9","TM202504111503447454ad1","重型橡套电缆","YC-0.5 3*4+1*2.5mm2","","m","200.00","","","","","","华美热电"]
["10","TM202504111503447469383","交流接触器","NC8-40A","","只","3.00","","","","","","华美热电"]
["11","TM20250411150344747513f","压力继电器","HED80P1X/100z14","","只","1.00","","","","","","华美热电"]
["12","TM20250411150344748692d","压力开关","danfoss MBC5000 1011-1CB04 061B201266","UE","只","2.00","","","","","","华美热电"]
["13","TM202504111503447494a5a","智能通讯棒","配套SUN2000逆变器","","只","1.00","","","","","","张双楼"]
["14","TM20250411150344750f252","隔离式安全栅","IM1-22EX-R","","件","3.00","","","","","","新安"]
["15","TM202504111503447502f03","便携式矿用电焊机（智能）","KJH-500A 380/660V","","台","1.00","","","","","","各矿"]
["16","TM20250411150344751026a","行程开关","LX4-12S","","个","2.00","","","","","","郭家河"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]