{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":165,"n_cols":13,"rows_kept":165,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["苏能（锡林郭勒）发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202510041526504124363","球阀","Q11F-16P DN25、304","","个","20.00","","","","","",""]
["2","TM20251004152650414ecd7","球阀","Q11F-16P DN20、304","","个","20.00","","","","","",""]
["3","TM202510041526504150f37","逆止阀","服务水泵DN100PN25","","个","2.00","","","","","",""]
["4","TM202510041526504167ded","不锈钢球阀","DN65pN1.0含反法兰螺栓","","套","1.00","","","","","",""]
["5","TM202510041526504176871","手动球阀（不锈钢）","材质S304  DN18  1.0MPa","","台","2.00","","","","","",""]
["6","TM202510041526504183aa8","不锈手动钢球阀","材质S304  DN20  1.0MPa","","台","4.00","","","","","","（世伟洛克）"]
["7","TM2025100415265041801c1","蝶阀","D71X-16Q DN50 阀体材质：球墨铸铁+EPDM 阀板材质：\n1.4529，不含执行器","","个","10.00","","","","","","上海阀门五厂"]
["8","TM202510041526504198ec6","蝶阀","D71X-16Q DN65 阀体材质：球墨铸铁+EPDM 阀板材质：\n1.4529，不含执行器","","个","10.00","","","","","","上海阀门五厂"]
["9","TM202510041526504204a0c","蝶阀","D71X-16Q DN80 阀体材质：球墨铸铁+EPDM 阀板材质：\n1.4529，不含执行器","","个","10.00","","","","","","上海阀门五厂"]
["10","TM202510041526504216b7e","蝶阀","D71X-16Q DN100 阀体材质：球墨铸铁+EPDM 阀板材质：\n1.4529，不含执行器","","个","5.00","","","","","","上海阀门五厂"]
["11","TM20251004152650421dbd0","蝶阀","D71X-16Q DN125 阀体材质：球墨铸铁+EPDM 阀板材质：\n1.4529，不含执行器","","个","2.00","","","","","","上海阀门五厂"]
["12","TM20251004152650422785e","蝶阀","D71X-16Q DN150 阀体材质：球墨铸铁+EPDM 阀板材质：\n1.4529，不含执行器","","个","2.00","","","","","","上海阀门五厂"]
["13","TM202510041526504238ae3","蝶阀","D71X-16Q DN200 阀体材质：球墨铸铁+EPDM 阀板材质：1.4529，不含执行器","","个","2.00","","","","","","上海阀门五厂"]
["14","TM202510041526504232b96","给料机手动插板阀","DN300（PZ73H-10C,压力1.0MPa，适用温度200℃）","","台","2.00","","","","","","江苏苏达"]
["15","TM20251004152650424f40c","双插板出料阀","DN150（耐磨阀门SD644H,PN1.0MPa,温度400℃）","","台","2.00","","","","","","江苏苏达"]
["16","TM202510041526504254478","双插板出料阀","DN200（陶瓷阀门SD644TC ，PN1.0MPa,温度200℃）","","台","2.00","","","","","","江苏苏达"]
["17","TM202510041526504269010","双插板出料阀","DN125（陶瓷阀门SD644TC ，PN1.0MPa,温度200℃）","","台","2.00","","","","","","江苏苏达"]
["18","TM202510041526504265d90","反作用力比例溢流阀","CNAX/PV03/4AP/S1/P2/100","","台","1.00","","","","","",""]
["19","TM202510041526504278a2b","作用力比例溢流阀","CNAX/PV03/4AP/S1/P2/250","","台","1.00","","","","","",""]
["20","TM20251004152650428cce2","管道自动排气阀","DN20","","个","10.00","","","","","",""]
["21","TM202510041526504288afa","管道自动排气阀","DN25","","个","10.00","","","","","",""]
["22","TM20251004152650429d36c","内螺纹球阀","DN15","","个","10.00","","","","","",""]
["23","TM20251004152650430d4ef","内螺纹球阀","DN20","","个","10.00","","","","","",""]
["24","TM2025100415265043033b0","内螺纹球阀","DN25","","个","10.00","","","","","",""]
["25","TM20251004152650431b193","内螺纹截止阀","DN10","","个","10.00","","","","","",""]
["26","TM20251004152650432a9d3","内螺纹截止阀","DN15","","个","10.00","","","","","",""]
["27","TM202510041526504322909","内螺纹截止阀","DN20","","个","10.00","","","","","",""]
["28","TM2025100415265043394e8","内螺纹截止阀","DN25","","个","10.00","","","","","",""]
["29","TM202510041526504348fde","内螺纹截止阀","DN32","","个","10.00","","","","","",""]
["30","TM20251004152650434769a","内螺纹截止阀","DN40","","个","10.00","","","","","",""]
["31","TM2025100415265043591fd","内螺纹截止阀","DN50","","个","10.00","","","","","",""]
["32","TM202510041526504359fa6","退火铜垫","外径18mm/内径10mm/厚度2mm","","个","100.00","","","","","",""]
["33","TM20251004152650436afd6","退火铜垫","外径22mm/内径10mm/厚度2mm","","个","100.00","","","","","",""]
["34","TM202510041526504371593","卡套接头","φ20-φ20","","个","20.00","","","","","",""]
["35","TM20251004152650437d453","活接","1/2-150","","个","10.00","","","","","",""]
["36","TM202510041526504380d26","对丝","φ14-G3/4","","个","10.00","","","","","",""]
["37","TM20251004152650439e49b","内丝活接头","304不锈钢/1/4内丝活接头","","个","10.00","","","","","",""]
["38","TM20251004152650439e831","接头","1/4NPT-φ14X2","","个","20.00","","","","","",""]
["39","TM2025100415265044038ae","接头","1/4NPT-φ14","","个","10.00","","","","","",""]
["40","TM202510041526504417786","不锈钢卡套弯头","φ20-φ20","","个","20.00","","","","","",""]
["41","TM202510041526504419cac","Y型过滤器","DN20、304","","个","20.00","","","","","",""]
["42","TM2025100415265044249c0","滤油机","LUC-16*3/220V","","台","1.00","","","","","",""]
["43","TM202510041526504427119","金属缠绕垫","DN25   32*65*4","","个","10.00","","","","","",""]
["44","TM20251004152650443c909","金属缠绕垫","DN20   25*55*4","","个","10.00","","","","","",""]
["45","TM202510041526504446685","金属缠绕垫","DN50  57*100*4","","个","10.00","","","","","",""]
["46","TM202510041526504443e4a","金属缠绕垫","DN40   45*85*4","","个","10.00","","","","","",""]
["47","TM20251004152650445bec7","钳子","/-1706060160","","把","1.00","","","","","",""]
["48","TM202510041526504460262","内六角扳手","3-17mm 10件","","套","1.00","","","","","",""]
["49","TM2025100415265044667b2","活动扳手","150mm 6\"","","把","1.00","","","","","",""]
["50","TM202510041526504473552","活动扳手","250mm 10\"","","把","1.00","","","","","",""]
["51","TM202510041526504473e96","活动扳手","300mm 12\"","","把","1.00","","","","","",""]
["52","TM2025100415265044864e1","内径千分尺","5-30MM","","把","1.00","","","","","",""]
["53","TM20251004152650449feff","内径千分尺","75-100MM","","把","1.00","","","","","",""]
["54","TM202510041526504498dc9","伴热带接头","通用","","个","100.00","","","","","",""]
["55","TM20251004152650450f41b","活接","DN10","","个","10.00","","","","","",""]
["56","TM202510041526504504a46","活接","DN15","","个","10.00","","","","","",""]
["57","TM202510041526504511a02","活接","DN40","","个","10.00","","","","","",""]
["58","TM202510041526504516f62","活接","DN50","","个","10.00","","","","","",""]
["59","TM20251004152650452fb65","金属缠绕垫","DN15","","个","10.00","","","","","",""]
["60","TM202510041526504523f1b","金属缠绕垫","DN10","","个","10.00","","","","","",""]
["61","TM20251004152650453f2e6","三通","DN50","","个","10.00","","","","","",""]
["62","TM20251004152650454f97e","三通","DN40","","个","10.00","","","","","",""]
["63","TM20251004152650454d225","三通","DN32","","个","10.00","","","","","",""]
["64","TM2025100415265045540aa","高压石棉垫","1.5米*§=3mm","","kg","50.00","","","","","",""]
["65","TM202510041526504561d09","高压石棉垫","1.5米*§=2mm","","kg","50.00","","","","","",""]
["66","TM202510041526504568e6f","金属缠绕垫钢环（外环）","艾拓1155*1084*1020*4.5，材质316L 防止腐蚀爆裂","","个","3.00","","","","","",""]
["67","TM202510041526504577e40","金属缠绕垫钢环（内环）","艾拓1097*1017*980*4.5，316L 防止腐蚀爆裂","","片","3.00","","","","","",""]
["68","TM20251004152650458e86f","UPVC直接","25mm","","只","20.00","","","","","",""]
["69","TM202510041526504593bc2","UPVC直接","DN20","","个","20.00","","","","","",""]
["70","TM202510041526504597981","UPVC三通","DN20","","个","20.00","","","","","",""]
["71","TM202510041526504606a82","插装阀（汽轮机油动机用）","代号CVI-25-D11","","只","2.00","","","","","",""]
["72","TM202510041526504606adf","过滤器滤芯","RP8314F0539H","","个","6.00","","","","","",""]
["73","TM20251004152650461238c","过滤器滤芯","RP8314F0139H","","个","6.00","","","","","",""]
["74","TM20251004152650461e788","除颗粒滤芯","RP8314F0116Z","","个","3.00","","","","","",""]
["75","TM2025100415265046261c5","金属缠绕垫片","6寸-150#","","个","5.00","","","","","",""]
["76","TM202510041526504622549","金属缠绕垫片","4寸-300#","","个","5.00","","","","","",""]
["77","TM202510041526504633e89","金属缠绕垫片","4寸-150#","","个","5.00","","","","","",""]
["78","TM20251004152650463f266","金属缠绕垫片","3寸-1500#","","个","5.00","","","","","",""]
["79","TM2025100415265046418df","金属缠绕垫片","3寸-900#","","个","5.00","","","","","",""]
["80","TM2025100415265046442b0","金属缠绕垫片","3寸-600#","","个","5.00","","","","","",""]
["81","TM20251004152650465a781","八角垫","80-1500  R35  316L","","个","2.00","","","","","",""]
["82","TM20251004152650465fb3e","金属缠绕垫2222","DN40  150LB","","个","5.00","","","","","",""]
["83","TM2025100415265046650d0","金属缠绕垫2222","DN65  300LB","","个","5.00","","","","","",""]
["84","TM20251004152650466bd30","金属缠绕垫2222","DN50  300LB","","个","5.00","","","","","",""]
["85","TM202510041526504672562","金属缠绕垫2222","DN40  300LB","","个","5.00","","","","","",""]
["86","TM20251004152650468338f","金属缠绕垫2222","DN80  600LB","","个","5.00","","","","","",""]
["87","TM202510041526504682319","金属缠绕垫2222","DN50  600LB","","个","5.00","","","","","",""]
["88","TM20251004152650469af85","高强石墨复合垫片","艾拓，720*636*4.5，内夹三层316L板材","","片","6.00","","","","","",""]
["89","TM202510041526504707e1b","等径外牙内接","材质Q235DN50","","个","10.00","","","","","",""]
["90","TM202510041526504700055","等径外牙内接","材质Q235DN40","","个","10.00","","","","","",""]
["91","TM202510041526504713355","等径外牙内接","材质Q235DN32","","个","10.00","","","","","",""]
["92","TM20251004152650471aced","等径外牙内接","材质Q235DN25","","个","10.00","","","","","",""]
["93","TM20251004152650472e911","等径外牙内接","材质Q235DN20","","个","10.00","","","","","",""]
["94","TM2025100415265047243d6","等径外牙内接","材质Q235DN15","","个","10.00","","","","","",""]
["95","TM2025100415265047345a1","内牙管箍","材质Q235DN50","","个","10.00","","","","","",""]
["96","TM202510041526504739825","内牙管箍","材质Q235DN40","","个","10.00","","","","","",""]
["97","TM20251004152650474a1dc","内牙管箍","材质Q235DN32","","个","10.00","","","","","",""]
["98","TM2025100415265047416de","内牙管箍","材质Q235DN25","","个","10.00","","","","","",""]
["99","TM2025100415265047599ae","内牙管箍","材质Q235DN20","","个","10.00","","","","","",""]
["100","TM20251004152650475ab3e","内牙管箍","材质Q235DN15","","个","10.00","","","","","",""]
["101","TM20251004152650476880e","内牙管箍","材质Q235DN10","","个","10.00","","","","","",""]
["102","TM202510041526504765caa","气片堵及垫子","材质Q235DN25","","个","10.00","","","","","",""]
["103","TM20251004152650477afdd","气片堵及垫子","材质Q235DN20","","个","10.00","","","","","",""]
["104","TM20251004152650478d517","内丝变径管箍","材质Q235DN40-DN50","","个","10.00","","","","","",""]
["105","TM202510041526504780b65","内丝变径管箍","材质Q235DN32-DN50","","个","10.00","","","","","",""]
["106","TM2025100415265047997b1","内丝变径管箍","材质Q235DN32-DN40","","个","10.00","","","","","",""]
["107","TM20251004152650479afab","内丝变径管箍","材质Q235DN25-DN40","","个","10.00","","","","","",""]
["108","TM20251004152650480e5fd","内丝变径管箍","材质Q235DN25-DN32","","个","10.00","","","","","",""]
["109","TM202510041526504816fd9","内丝变径管箍","材质Q235DN20-DN32","","个","10.00","","","","","",""]
["110","TM2025100415265048151ff","内丝变径管箍","材质Q235DN20-DN25","","个","10.00","","","","","",""]
["111","TM202510041526504822992","内丝变径管箍","材质Q235DN15-DN25","","个","10.00","","","","","",""]
["112","TM20251004152650482f0ba","内丝变径管箍","材质Q235DN10-DN25","","个","10.00","","","","","",""]
["113","TM202510041526504833312","内丝变径管箍","材质Q235DN10-DN15","","个","10.00","","","","","",""]
["114","TM202510041526504838d76","金属缠绕垫","DN32   38*78*4","","个","10.00","","","","","",""]
["115","TM202510041526504848a9b","高强石墨复合垫片","艾拓，725*636*4.5，内夹三层316L板材","","个","2.00","","","","","",""]
["116","TM20251004152650484ed0a","内六角螺丝","不锈钢/全牙/M8*30","","个","50.00","","","","","",""]
["117","TM20251004152650485c9c7","内六角螺丝","不锈钢/全牙/M8*35","","个","50.00","","","","","",""]
["118","TM20251004152650486f431","内六角螺丝","不锈钢/全牙/M8*40","","个","50.00","","","","","",""]
["119","TM202510041526504863e04","内六角螺丝","不锈钢/全牙/M8*45","","个","50.00","","","","","",""]
["120","TM202510041526504873d90","内六角螺丝","不锈钢/全牙/M10*30","","个","50.00","","","","","",""]
["121","TM20251004152650487b6cc","内六角螺丝","不锈钢/全牙/M10*35","","个","50.00","","","","","",""]
["122","TM202510041526504880309","内六角螺丝","不锈钢/全牙/M10*40","","个","50.00","","","","","",""]
["123","TM20251004152650489ad8b","内六角螺丝","不锈钢/全牙/M10*45","","个","50.00","","","","","",""]
["124","TM20251004152650490fddb","内六角螺丝","不锈钢/全牙/M12*30","","个","50.00","","","","","",""]
["125","TM202510041526504906cb3","内六角螺丝","不锈钢/全牙/M12*35","","个","50.00","","","","","",""]
["126","TM202510041526504918c03","内六角螺丝","不锈钢/全牙/M12*40","","个","50.00","","","","","",""]
["127","TM202510041526504926a59","内六角螺丝","不锈钢/全牙/M12*45","","个","50.00","","","","","",""]
["128","TM20251004152650493afc1","内六角螺丝","不锈钢/全牙/5/16-24*1-1/4","","个","20.00","","","","","",""]
["129","TM20251004152650493ccc7","内六角螺丝","不锈钢/全牙/5/16-24*1-1/2","","个","20.00","","","","","",""]
["130","TM20251004152650494a0a8","外六角螺丝","不锈钢/M16*80/平垫/弹垫/螺母","","套","50.00","","","","","",""]
["131","TM20251004152650495c079","铜鼻子","10平方","","个","20.00","","","","","",""]
["132","TM202510041526504967368","铜鼻子","16平方","","个","20.00","","","","","",""]
["133","TM202510041526504962c92","铜鼻子","25平方","","个","20.00","","","","","",""]
["134","TM20251004152650497b42e","铜鼻子","35平方","","个","20.00","","","","","",""]
["135","TM202510041526504981616","铜鼻子","50平方","","个","20.00","","","","","",""]
["136","TM202510041526504980bca","不锈钢平焊法兰盘","DN50 PN16  304","","片","6.00","","","","","",""]
["137","TM2025100415265049942dc","不锈钢平焊法兰盘","DN125 PN16   304","","片","6.00","","","","","",""]
["138","TM202510041526505004489","平焊法兰盘","DN150 PN16 RF","","片","20.00","","","","","",""]
["139","TM202510041526505011275","平焊法兰盘","DN100 PN16 RF","","片","20.00","","","","","",""]
["140","TM202510041526505013742","90°焊接弯头","？57x4    20#","","个","10.00","","","","","",""]
["141","TM202510041526505026c4c","90°焊接弯头","D108*4 (20#)","","个","10.00","","","","","",""]
["142","TM2025100415265050376aa","不锈钢弯头","Φ57*3.5（2205）、90°","","个","5.00","","","","","",""]
["143","TM2025100415265050334a7","不锈钢弯头","Φ89*4（2205）、90°","","个","5.00","","","","","",""]
["144","TM2025100415265050468cf","不锈钢弯头","Φ108*4（2205）、90°","","个","5.00","","","","","",""]
["145","TM202510041526505042c4f","不锈钢弯头","Φ133*6（2205）、90°","","个","5.00","","","","","",""]
["146","TM20251004152650505b82b","不锈钢弯头","Φ159*8（2205）、90°","","个","5.00","","","","","",""]
["147","TM2025100415265050622dd","不锈钢弯头","Φ219*10（2205）、90°","","个","5.00","","","","","",""]
["148","TM20251004152650507e3bf","不锈钢平焊法兰","DN80*PN16","","片","6.00","","","","","",""]
["149","TM20251004152650507ca3c","不锈钢平焊法兰","DN100*PN16","","片","6.00","","","","","",""]
["150","TM202510041526505082434","不锈钢平焊法兰","DN150*PN16","","片","6.00","","","","","",""]
["151","TM2025100415265050986e1","不锈钢平焊法兰","DN200*PN16","","片","6.00","","","","","",""]
["152","TM20251004152650509d468","波浪线","材质Q23528","","米","4200.00","","","","","",""]
["153","TM202510041526505109436","金属缠绕垫","DN200222*273*4","","个","5.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]