{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":20,"n_cols":13,"rows_kept":20,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250403162820307e0b5","旋翼式水表","LXS-15E","","只","2.00","","","","","","仓储"]
["2","TM202504031628203099d79","执法记录仪","DSJ-S11","","台","4.00","","","","","","徐矿电厂-集控室配备-128G内存，防抖，夜视，旋转高清摄像，具体样式见附件"]
["3","TM2025040316282030982d2","\"超声波金属测厚仪","\"DN2600（量程0.75-60mm）+6MM探头","","台","1.00","","","","","","张双楼"]
["4","TM202504031628203104103","在线浊度仪","型号：HGY6098 测量范围：0-10NTU 准确度：±1%FS 核工业北京化工冶金研究院","2w","套","1.00","","","","","","华美热电"]
["5","TM2025040316282031145a1","浊度仪","LM7012P-CW 整机质保两年","1.4w","台","1.00","","","","","","徐矿电厂-反应沉淀池入口浊度检测-更换。配套不锈钢防水箱，成套安装"]
["6","TM20250403162820311f879","里氏硬度计","美国HT2000A\n成套设备（硬度计主机+PORTI-S打印机+打印机充电器+打印纸+标准硬度块+20mm支撑环+13mm支撑环+毛刷+备用电池+使用说明书+携带箱）","1.28w","台","1.00","","","","","","华美热电-测量材质硬度-新增"]
["7","TM20250403162820312966e","超声波测厚仪","DAKOTA   ZX-5 成套设备，含测厚探头","1.1w","台","1.00","","","","","","华美热电-炉膛水冷壁测厚-新增"]
["8","TM2025040316282031205f5","绕线式电磁感应加热器","APM RX2-40KVA 电压：380V；功率：30-40KVA","2w","台","1.00","","","","","","郭家河-检修中心-检修中心（设备检修轴承加热用）"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]