{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":52,"n_cols":13,"rows_kept":52,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["苏能（锡林郭勒）发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20251029160813280a2d8","密度计","1.000～1.100g/cm分度值为0.001g/cm3","","个","4.00","","","","","",""]
["2","TM20251029160813285157c","密度计","1.100～1.200g/cm分度值为0.001g/cm3","","个","2.00","","","","","",""]
["3","TM202510291608132904ef9","锥形瓶","250ML","","个","10.00","","","","","",""]
["4","TM20251029160813294c474","滴瓶","120ml（棕色） 附乳胶头","","只","3.00","","","","","",""]
["5","TM202510291608132990bc4","滴瓶","120ml（白色） 附乳胶头","","只","3.00","","","","","",""]
["6","TM20251029160813303ddb2","取样瓶","/-1752490203","","只","6.00","","","","","",""]
["7","TM20251029160813307af84","塑料广口瓶","塑料大口试剂瓶无色250mL","","个","6.00","","","","","",""]
["8","TM202510291608133124263","电子天平","YH-M20002 规格：Max=2000g e=0.1g d=0.01g","","台","1.00","","","","","",""]
["9","TM2025102916081331655da","一次性丁晴手套","S码/爱马斯耐用型/耐酸碱/100只/盒","","盒","3.00","","","","","",""]
["10","TM202510291608133207144","一次性丁晴手套","M码/爱马斯耐用型/耐酸碱/100只/盒","","盒","10.00","","","","","",""]
["11","TM20251029160813324f269","一次性丁晴手套","L码/爱马斯耐用型/耐酸碱/100只/盒","","盒","3.00","","","","","",""]
["12","TM202510291608133290fc7","塑料取样瓶","500mL/细口","","个","50.00","","","","","",""]
["13","TM2025102916081333327e8","玻璃烧杯","100mL蜀牛","","个","20.00","","","","","","建议品牌蜀牛"]
["14","TM202510291608133376a32","玻璃烧杯","250mL蜀牛","","个","20.00","","","","","","建议品牌蜀牛"]
["15","TM20251029160813341d1fd","玻璃烧杯","1L/低型/蜀牛","","个","10.00","","","","","","建议品牌蜀牛"]
["16","TM20251029160813346df7e","比色管","12支/盒蜀牛","","盒","4.00","","","","","","建议品牌蜀牛"]
["17","TM20251029160813350a142","称量纸","100mm*100mm/加厚/500张/包","","包","10.00","","","","","",""]
["18","TM202510291608133540e5a","药匙","双头/不锈钢/18cm","","个","10.00","","","","","",""]
["19","TM20251029160813358cc77","镊子","20cm/不锈钢","","个","5.00","","","","","",""]
["20","TM20251029160813362d0ec","搅拌子","3*5mm","","个","10.00","","","","","",""]
["21","TM20251029160813366174e","塑料取样瓶","250mL","","个","20.00","","","","","",""]
["22","TM20251029160813370f1a6","塑料烧杯","50mL","","个","20.00","","","","","","比克曼生物"]
["23","TM202510291608133750cfa","塑料烧杯","1000mL/带把","","个","20.00","","","","","","比克曼生物"]
["24","TM20251029160813379c389","原子吸收样品杯","5mL/10个/包","","包","1.00","","","","","",""]
["25","TM20251029160813383f958","原子吸收样品杯","1.5ml/1000个/包/耐酸碱","","包","1.00","","","","","",""]
["26","TM202510291608133879d19","实验室吸油纸","20*30cm 500片/卷","","kg","10.00","","","","","",""]
["27","TM202510291608133914589","油污清洗剂","/","","包","10.00","","","","","",""]
["28","TM20251029160813395af4d","搪瓷托盘","470*360mm","","只","2.00","","","","","",""]
["29","TM202510291608133993e5c","搪瓷托盘","300*400mm","","只","5.00","","","","","",""]
["30","TM20251029160813403a592","颗粒度专用取样瓶","250ml，带具塞和塑料薄膜衬垫","","只","50.00","","","","","",""]
["31","TM20251029160813408e7ab","磁力搅拌子","2cm","","个","10.00","","","","","",""]
["32","TM20251029160813412119a","塑料烧杯","100ml","","只","20.00","","","","","",""]
["33","TM202510291608134164332","移液管架","/-402120581","","个","2.00","","","","","",""]
["34","TM20251029160813420868c","移液管","2ml","","只","2.00","","","","","",""]
["35","TM2025102916081342481ba","移液管","5ml","","只","2.00","","","","","",""]
["36","TM2025102916081342867e5","量筒","500ml","","只","2.00","","","","","",""]
["37","TM2025102916081343218ba","量筒","100ml","","只","5.00","","","","","",""]
["38","TM2025102916081343757ee","玻璃烧杯","100mL","","个","6.00","","","","","","建议品牌蜀牛"]
["39","TM202510291608134412380","玻璃烧杯","250mL","","个","6.00","","","","","","建议品牌蜀牛"]
["40","TM20251029160813445b766","移液管","10ml","","只","2.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]