{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":39,"n_cols":13,"rows_kept":39,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202507161042281661010","包塑软管卡套","与Φ15金属包塑软管配套，带外螺纹：M25×1.5，材质：镀锌碳钢","","只","12.00","","","","","","动力高加进水、出水电动阀穿线管整改"]
["2","TM2025071610422816947da","包塑软管卡套","与Φ20金属包塑软管配套，带外螺纹：M22×1.5，材质：镀锌碳钢","","只","30.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["3","TM202507161042281719678","包塑软管卡套","与Φ20金属包塑软管配套，带外螺纹：M25×1.5，材质：镀锌碳钢","","只","25.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["4","TM20250716104228172f36c","包塑软管卡套","与Φ20金属包塑软管配套，带外螺纹：M30×1.5，材质：镀锌碳钢","","只","15.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["5","TM202507161042281739f69","包塑软管卡套","与Φ20金属包塑软管配套，与DN25镀锌钢管连接，带三爪锁头，材质：镀锌碳钢","","只","45.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["6","TM20250716104228174b0b1","包塑软管卡套","与Φ25金属包塑软管配套，带外螺纹：M22×1.5，材质：镀锌碳钢","","只","20.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["7","TM2025071610422817449a1","包塑软管卡套","与Φ25金属包塑软管配套，带外螺纹：M25×1.5，材质：镀锌碳钢","","只","16.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["8","TM2025071610422817550f1","包塑软管卡套","与Φ25金属包塑软管配套，带外螺纹：3/4 G，材质：镀锌碳钢","","只","8.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["9","TM202507161042281765326","包塑软管卡套","与Φ25金属包塑软管配套，带外螺纹：M30×1.5，材质：镀锌碳钢","","只","6.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["10","TM20250716104228177a7ec","包塑软管卡套","与Φ25金属包塑软管配套，与DN25镀锌钢管连接，带三爪锁头，材质：镀锌碳钢","","只","25.00","","","","","","动力装置锅炉电动阀电缆穿线管整改"]
["11","TM202507161042281777f85","螺纹快插接头","G1/2转Φ8","","个","10.00","","","","","","脱盐水超滤气源管线检修"]
["12","TM2025071610422817881a2","穿板接头","订货号：SS-6MO-61","世伟洛克","个","3.00","","","","","","净化分析小屋进气口用，世伟洛克"]
["13","TM20250716104228179d278","卡套直通","订货号：SS-6M0-6","世伟洛克","个","3.00","","","","","","净化分析小屋进气口用，世伟洛克"]
["14","TM202507161042281795e20","防爆异径管接头","外螺纹G3/4，外螺纹M38*1.5？ 材质：黄铜","","个","15.00","","","","","","重大危险源气体报警器使用"]
["15","TM20250716104228180a008","防爆异径管接头","外螺纹3/4NPT，外螺纹M38*1.5？ 材质：黄铜","","个","15.00","","","","","","重大危险源气体报警器使用"]
["16","TM202507161042281818018","安全栅","KCD2-STC-EX1  P+F","P+F","台","9.00","","","","","","动力A/B/C锅炉干渣系统优化改造零星工程用，P+F"]
["17","TM2025071610422818261ed","电磁阀","L12BB452OG00040","ASCO","个","2.00","","","","","","回用水超滤控制箱，ASCO"]
["18","TM20250716104228184be16","电磁阀","4M310-10；0.15MPa-0.8MPa       AC220V  电磁阀（带线圈） AIRTAC","AIRTAC","个","2.00","","","","","","气化捞渣机渣池溢流阀检修，AIRTAC"]
["19","TM20250716104228184dd4a","宝塔消音器","螺纹：1/2NPT","","个","5.00","","","","","","甲醇罐区气动切断阀日常保养"]
["20","TM20250716104228185f526","宝塔消音器","DN10 外丝，304","","个","2.00","","","","","","气化炉锁斗系统阀门维护"]
["21","TM20250716104228186febf","宝塔消音器","DN20 外丝，304","","个","5.00","","","","","","甲醇罐区气动切断阀日常保养"]
["22","TM202507161042281860042","压力传感器","LF08-2/4 ON:2bar ,220VAC/10A,OFF:4bar,外螺纹：1/4\"NPT, 线缆长2.5m，LEFOO","LEFOO","件","1.00","","","","","","高压清洗机压力检测，LEFOO"]
["23","TM202507161042281879b09","穿孔式交流电流传感器","PH-T4I-40A  IN:AC 0-40A  OUT:DC 4-20mA  孔径22 mm  供电电源：AC220V","","个","3.00","","","","","","动力装置A/B/C锅炉干渣系统优化改造，零星工程材料"]
["24","TM20250716104228188a2e4","穿孔式交流电流传感器","PH-T4I-10A  IN:AC 0-10A OUT:DC 4-20mA  孔径 12mm  供电电源：AC220V","","个","3.00","","","","","","动力装置A/B/C锅炉干渣系统优化改造，零星工程材料"]
["25","TM2025071610422818874fc","成型填料","34×20×10，材质：石墨+304","","个","12.00","","","","","","动力锅炉蒸汽吹灰疏水电动阀调料更换"]
["26","TM202507161042281896361","玻璃流通池","部件号013017    奥立龙Star222 电导率测定仪","奥力龙","个","5.00","","","","","","奥力龙便携式电导仪备件，奥力龙"]
["27","TM2025071610422818987e2","二维平台扫描器","型号：T585L 版本：有线版 接口：USB 码制：一/二维码 序列号：T585LYE0JFA0854","度点科技有限公司","台","1.00","","","","","","装车栈台装车扫描用，公司营销重要设备备件，必须保证与原采购项目的一致性。度点科技有限公司"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]