{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":67,"n_cols":13,"rows_kept":67,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250822141440237a15a","工业无线遥控器","型号：F21-E1B 36V 两发一收","","套","1.00","","","","","","机修厂房B侧桥式起重机10T接地改造（工程材料）"]
["2","TM202508221414402383680","工业无线遥控器","型号：F21-E1B 36V 两发一收","","套","1.00","","","","","","机修厂房A侧桥式起重机5T接地改造（工程材料）"]
["3","TM2025082214144023928a1","工业无线遥控器","型号：F21-E1B 36V 两发一收","","套","1.00","","","","","","综合库房B侧桥式起重机接地改造（工程材料）"]
["4","TM2025082214144024094eb","工业无线遥控器","型号：F21-E1B 36V 两发一收","","套","1.00","","","","","","综合库房A侧桥式起重机接地改造（工程材料）"]
["5","TM202508221414402411197","工业无线遥控器","型号：F21-E1B 36V 两发一收","","套","1.00","","","","","","电修厂房桥式起重机10T接地改造（工程材料）"]
["6","TM2025082214144024109ec","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","原水处理站桥式起重机10T接地改造（工程材料）"]
["7","TM20250822141440242059f","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","电修厂房桥式起重机10T接地改造（工程材料）"]
["8","TM202508221414402430d0b","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","综合库房A侧桥式起重机接地改造（工程材料）"]
["9","TM202508221414402432f81","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","综合库房B侧桥式起重机接地改造（工程材料）"]
["10","TM20250822141440244c713","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","机修厂房A侧桥式起重机5T接地改造（工程材料）"]
["11","TM2025082214144024510b2","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","气化高压煤浆泵桥式起重机10T接地改造（工程材料）"]
["12","TM20250822141440245992c","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","脱硫循环泵房桥式起重机5T接地改造（工程材料）"]
["13","TM202508221414402463062","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","机修厂房B侧桥式起重机10T接地改造（工程材料）"]
["14","TM20250822141440247f797","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","301总变电室桥式起重机10T接地改造（工程材料）"]
["15","TM20250822141440247dad6","无接缝滑线集电器","JD-60A,“4级”380V","","套","1.00","","","","","","原水处理站桥式起重机10T接地改造（工程材料）"]
["16","TM20250822141440248717d","单极滑触线集电器","800A，380V","","套","4.00","","","","","","煤浆制备厂房二层桥式起重机32T/5T接地改造（工程材料）"]
["17","TM202508221414402486aaa","单极滑触线集电器","800A，380V","","套","4.00","","","","","","动力汽轮机厂房桥式起重机50T/5T接地改造（工程材料）"]
["18","TM2025082214144024942bb","行车缓冲器","聚氨酯缓冲器JHQ-A-5 （含配套螺栓）","","个","4.00","","","","","","动力汽轮机厂房桥式起重机50T/5T接地改造（工程材料）"]
["19","TM202508221414402499523","行车缓冲器","聚氨酯缓冲器JHQ-A-5 （含配套螺栓）","","个","4.00","","","","","","2#合成压缩机房防爆桥式起重机16T/5T接地改造（工程材料）"]
["20","TM202508221414402506efe","行车缓冲器","聚氨酯缓冲器JHQ-A-5 （含配套螺栓）","","个","4.00","","","","","","1#合成压缩机房防爆桥式起重机16T/3.2T接地改造（工程材料）"]
["21","TM202508221414402513201","行车缓冲器","聚氨酯缓冲器JHQ-A-5 （含配套螺栓）","","个","4.00","","","","","","煤浆制备厂房二层桥式起重机32T/5T接地改造（工程材料）"]
["22","TM20250822141440251e498","行车缓冲器","聚氨酯缓冲器JHQ-C-6（含配套螺栓）","","个","4.00","","","","","","煤浆制备厂房二层桥式起重机32T/5T接地改造（工程材料）"]
["23","TM202508221414402520d74","行车缓冲器","聚氨酯缓冲器JHQ-C-6（含配套螺栓）","","个","4.00","","","","","","2#合成压缩机房防爆桥式起重机16T/5T接地改造（工程材料）"]
["24","TM20250822141440252bf05","行车缓冲器","聚氨酯缓冲器JHQ-C-6（含配套螺栓）","","个","4.00","","","","","","动力汽轮机厂房桥式起重机50T/5T接地改造（工程材料）"]
["25","TM20250822141440253f109","行车缓冲器","聚氨酯缓冲器JHQ-C-6（含配套螺栓）","","个","4.00","","","","","","1#合成压缩机房防爆桥式起重机16T/3.2T接地改造（工程材料）"]
["26","TM20250822141440254e766","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","机修厂房B侧桥式起重机10T接地改造（工程材料）"]
["27","TM202508221414402544a3c","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","脱硫循环泵房桥式起重机5T接地改造（工程材料）"]
["28","TM202508221414402552c6a","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","气化高压煤浆泵桥式起重机10T接地改造（工程材料）"]
["29","TM202508221414402559d35","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","综合库房B侧桥式起重机接地改造（工程材料）"]
["30","TM202508221414402568cd3","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","机修厂房A侧桥式起重机5T接地改造（工程材料）"]
["31","TM20250822141440256e3f3","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","综合库房A侧桥式起重机接地改造（工程材料）"]
["32","TM202508221414402575070","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","电修厂房桥式起重机10T接地改造（工程材料）"]
["33","TM202508221414402589753","行车缓冲器","聚氨酯缓冲器，110*70*50mm，含配套螺栓","","个","6.00","","","","","","原水处理站桥式起重机10T接地改造（工程材料）"]
["34","TM20250822141440258dd6a","安全滑触线","四极无接缝滑线，10平方，50A （含配套滑线安装支架、及端部拉紧器）","","m","70.00","","","","","","机修厂房A侧桥式起重机5T接地改造（工程材料）"]
["35","TM202508221414402594e8e","安全滑触线","四极无接缝滑线，10平方，50A （含配套滑线安装支架、及端部拉紧器）","","m","70.00","","","","","","机修厂房B侧桥式起重机10T接地改造（工程材料）"]
["36","TM20250822141440259eca0","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","70.00","","","","","","综合库房B侧桥式起重机接地改造（工程材料）"]
["37","TM20250822141440259b378","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","40.00","","","","","","脱硫循环泵房桥式起重机5T接地改造（工程材料）"]
["38","TM2025082214144026043c5","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","42.00","","","","","","气化高压煤浆泵桥式起重机10T接地改造（工程材料）"]
["39","TM20250822141440260e4f4","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","26.00","","","","","","301总变电室桥式起重机10T接地改造（工程材料）"]
["40","TM20250822141440261e8b3","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","35.00","","","","","","电修厂房桥式起重机10T接地改造（工程材料）"]
["41","TM20250822141440261d1e0","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","70.00","","","","","","综合库房A侧桥式起重机接地改造（工程材料）"]
["42","TM20250822141440262c520","安全滑触线","四极无接缝滑线，16平方，80A（含提供配套滑线安装支架、及端部拉紧器）","","m","45.00","","","","","","原水处理站桥式起重机10T接地改造（工程材料）"]
["43","TM2025082214144026232df","单极滑线","800A (三红一绿) 含所有安装附件（含接头、接头护套、端头护套、挑线架、提挂夹、膨胀部件）","","m","342.00","","","","","","动力汽轮机厂房桥式起重机50T/5T接地改造（工程材料）"]
["44","TM2025082214144026303e8","单极滑线","800A (三红一绿) 含所有安装附件（含接头、接头护套、端头护套、挑线架、提挂夹、膨胀部件）","","m","260.00","","","","","","煤浆制备厂房二层桥式起重机32T/5T接地改造（工程材料）"]
["45","TM202508221414402638329","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","煤浆制备厂房二层桥式起重机32T/5T接地改造（工程材料）"]
["46","TM202508221414402647ca1","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","动力汽轮机厂房桥式起重机50T/5T接地改造（工程材料）"]
["47","TM20250822141440264a6a0","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","气化高压煤浆泵桥式起重机10T接地改造（工程材料）"]
["48","TM202508221414402654984","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","电修厂房桥式起重机10T接地改造（工程材料）"]
["49","TM202508221414402662ee7","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","综合库房A侧桥式起重机接地改造（工程材料）"]
["50","TM202508221414402667eea","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","机修厂房A侧桥式起重机5T接地改造（工程材料）"]
["51","TM202508221414402670c60","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","综合库房B侧桥式起重机接地改造（工程材料）"]
["52","TM202508221414402685631","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","机修厂房B侧桥式起重机10T接地改造（工程材料）"]
["53","TM20250822141440268fff7","滑触线电源指示灯","三相电源指示灯  HXC-50/3 长330mm*宽115mm 灯口直径50mm 适用电压220V/380V通用 含变压器","","套","1.00","","","","","","脱硫循环泵房桥式起重机5T接地改造（工程材料）"]
["54","TM202508221414402695adb","防爆滑触线电源指示灯","型号;BAK51 长425mm*宽115mm ExdⅡC T6","","套","1.00","","","","","","1#合成压缩机房防爆桥式起重机16T/3.2T接地改造（工程材料）"]
["55","TM20250822141440269823e","防爆滑触线电源指示灯","型号;BAK51 长425mm*宽115mm ExdⅡC T6","","套","1.00","","","","","","2#合成压缩机房防爆桥式起重机16T/5T接地改造（工程材料）"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]