{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":25,"n_cols":13,"rows_kept":25,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["徐州矿务（集团）新疆天山矿业有限责任公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202306211152558794014","活性炭过流器","S2012-267","1.0MPa","0.5m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["2","TM202306211152558811a05","储气罐","Y1505-47","1.06MPa","15m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["3","TM20230621115255882f393","储气罐","Y1505-46","0.9MPa","15m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["4","TM202306211152558839c30","空气储气罐","2019R1819","1.05MPa","15㎡","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["5","TM20230621115255884264a","氮气缓冲罐","2019R1226","1.05MPa","15m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["6","TM20230621115255884ed1d","储气罐","2019R1820","1.05MPa","5㎡","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["7","TM20230621115255885171e","1＃空压机储气罐","Y12024-147","0.88MPa","5m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["8","TM20230621115255886fa70","2＃空压机储气罐","Y12024-149","0.88MPa","5m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["9","TM20230621115255887eb6d","3＃空压机储气罐DN1400","R14076-2","0.9MPa","5m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["10","TM202306211152558901bd8","4＃空压机储气罐DN1400","R14076-1","0.9MPa","5m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["11","TM20230621115255891784a","北工广10t锅炉房储气罐","DT120410A1","0.84MPa","1.0m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["12","TM2023062111525589297c0","北工广15t锅炉房储气罐","R201904725","0.84MPa","2.0m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["13","TM20230621115255893dd61","南工广10t锅炉房储气罐","DT120410A2","0.84MPa","1.0m3","1.00","","","","","","用1.5倍空气压缩机工作压力进行水压试验并出具相关报告"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]