{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":53,"n_cols":13,"rows_kept":53,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["苏能（锡林郭勒）发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250804094901255f847","回油过滤器","ZNGLH-D150","件","件","1.00","","","","","","锅炉——一次风机润滑油站"]
["2","TM20250804094901256d8bd","螺杆泵","ZNYB2363.00-X75/1.0","台","台","1.00","","","","","","锅炉——一次风机润滑油站"]
["3","TM20250804094901257e1fc","截止阀","ZNKF05020101","只","只","2.00","","","","","","锅炉——一次风机润滑油站"]
["4","TM20250804094901258bd5a","压力调节阀","ZNKF04020701","只","只","1.00","","","","","","锅炉——一次风机润滑油站"]
["5","TM20250804094901259fb18","单向阀","ZNKF03020301","只","只","2.00","","","","","","锅炉——一次风机润滑油站"]
["6","TM20250804094901260ada2","节流阀","G-20","只","只","1.00","","","","","","锅炉——一次风机润滑油站"]
["7","TM20250804094901260eaa3","回油过滤装置","ZNGLH-D100","只","只","1.00","","","","","","锅炉——一次、送风机液压油站"]
["8","TM202508040949012618b7a","截止阀","ZNKF05020101","只","只","2.00","","","","","","锅炉——一次、送风机液压油站"]
["9","TM20250804094901262e440","压力调节阀","ZNKF04020401","只","只","1.00","","","","","","锅炉——一次、送风机液压油站"]
["10","TM20250804094901262c083","单向阀","ZNKF03020201","只","只","2.00","","","","","","锅炉——一次、送风机液压油站"]
["11","TM20250804094901263420d","滤芯","NRSL.60G1.10.X","只","只","2.00","","","","","","锅炉——一次、送风机液压油站"]
["12","TM202508040949012642834","单向阀","S15","只","只","1.00","","","","","","锅炉——一次、送风机液压油站"]
["13","TM202508040949012659005","油流指示器","SG-32","只","只","2.00","","","","","","锅炉——一次、送风机液压油站"]
["14","TM202508040949012657eb4","阀门组件DN100","N1/36104/4\"(K)","套","套","2.00","","","","","","锅炉——长吹"]
["15","TM20250804094901266d4fd","阀瓣65","N1/47446B","套","套","4.00","","","","","","锅炉——长吹"]
["16","TM20250804094901267ffd2","阀杆","N1/47403","套","套","4.00","","","","","","锅炉——长吹"]
["17","TM20250804094901267825d","空气阀","N1/47424B","套","套","4.00","","","","","","锅炉——长吹"]
["18","TM2025080409490126858ff","填料圈(含油轴承)","N1/47042B","件","件","4.00","","","","","","锅炉——长吹"]
["19","TM20250804094901269a01d","压圈","N1/32674","套","套","4.00","","","","","","锅炉——长吹"]
["20","TM20250804094901269264c","填料70×90×10","SCB6-19S","个","个","4.00","","","","","","锅炉——长吹"]
["21","TM20250804094901270a68b","填料压紧装置","N1/35339","个","个","2.00","","","","","","锅炉——长吹"]
["22","TM20250804094901270b6ac","链条张紧机构","N1/21674C","套","套","4.00","","","","","","锅炉——长吹"]
["23","TM202508040949012710c74","链条3/4","GB1243","根","根","10.00","","","","","","锅炉——长吹"]
["24","TM20250804094901272de7d","前部托轮组","RLSL-4-0","个","个","2.00","","","","","","锅炉——长吹"]
["25","TM20250804094901272b7d2","内管托架组件","RLSL-7-0","根","根","2.00","","","","","","锅炉——长吹"]
["26","TM20250804094901273aa08","内外管托架组件","RLSL-8-0","个","个","2.00","","","","","","锅炉——长吹"]
["27","TM20250804094901274b636","导轨组件","RLSL-17-18-0","套","套","2.00","","","","","","锅炉——长吹"]
["28","TM20250804094901274a5df","链条5/8  54节","GB1243.1-10A-1×96","根","根","2.00","","","","","","锅炉——摇摆吹灰器"]
["29","TM202508040949012750f74","链条张紧机构","N1/21588D","套","套","2.00","","","","","","锅炉——摇摆吹灰器"]
["30","TM20250804094901276b4b3","截止阀","ZNKF05020201","只","只","1.00","","","","","","锅炉——引风机液压油站"]
["31","TM202508040949012766b73","单向阀","ZNKF03020401","只","只","1.00","","","","","","锅炉——引风机液压油站"]
["32","TM202508040949012770ad1","压力调节阀","ZNKF04020801","只","只","1.00","","","","","","锅炉——引风机液压油站"]
["33","TM20250804094901277630b","三通球阀","ZNGF06010802","只","只","1.00","","","","","","锅炉——引风机液压油站"]
["34","TM202508040949012784fc9","压力调节阀","ZNKF04020901","只","只","1.00","","","","","","锅炉——引风机液压油站"]
["35","TM202508040949012787c8e","蓄能器皮囊","16LP","个","个","1.00","","","","","","锅炉——磨煤机液压油站"]
["36","TM20250804094901279d389","蓄能器皮囊","50LP","个","个","1.00","","","","","","锅炉——磨煤机液压油站"]
["37","TM202508040949012798e0d","疏水阀","CS49H-25C","台","台","1.00","","","","","","锅炉——脱硝系统生产用"]
["38","TM20250804094901280c6c0","爆破片","DN100","套","套","1.00","","","","","","锅炉——脱硝系统生产用"]
["39","TM20250804094901280f0a1","夹持器","DN100","套","套","1.00","","","","","","锅炉——脱硝系统生产用"]
["40","TM20250804094901281a756","安全阀","A28h-16/DN32","台","台","1.00","","","","","","锅炉——脱硝系统生产用"]
["41","TM20250804094901281608d","安全阀","A42Y-25RL 100/126","台","台","1.00","","","","","","锅炉——脱硝系统生产用"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]