{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":18,"n_cols":13,"rows_kept":18,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","8223810107","气动球阀","\"BQ641F-150LB；DN50 PN 2.0MPa；温度《150°C  介质：油、水、汽 ，气关式；电磁阀：ACSO, 24VDC\"","","台","10.00","","","","","","符合规格型号标准，提供样品，联系人：杨中燚15252030927 徐矿电厂25.7.17  QG2507170359"]
["2","1140180025","疏水阀","CS41H-16 DN25","","只","4.00","","","","","","符合规格型号标准，CS41H-16P徐矿电厂25.7.17  QG2507170355"]
["3","1145952900","气动陶瓷旋转进料阀（拐臂型）","TY641XZTC，DN200","","台","4.00","","","","","","符合规格型号备注标准，8孔法兰，孔距：295mm，孔径：22mm，高度：280mm，阀体要求整体铸造，厂家：江苏龙迈环保，无锡宝丰电力，山东丰晖环保，纽普兰能源环境科技徐矿电厂25.7.17  QG2507170355"]
["4","1145952950","气动陶瓷旋转进料阀（拐臂型）","LM641Y-10Q-80","(配套金属垫片,内衬陶瓷，阀体高度：280mm)","台","6.00","","","","","","气动金属旋转阀，型号：LM641Y-10Q-80，阀体要求整体铸造，厂家：江苏龙迈环保，无锡宝丰电力，山东丰晖环保，纽普兰能源环境科技徐矿电厂25.7.17  QG2507170355"]
["5","1140180024","疏水阀","CS41H-16P DN25","","只","4.00","","","","","","符合规格型号标准，CS41H-16P 1140180025 疏水阀 CS41H-16 DN25徐矿电厂25.7.17  QG2507170355  QG2508130185"]
["6","1133430101","法兰止回阀","H44H-16C     100mm","","台","1.00","","","","","","规格型号符合要求，铸钢阀体，消防稳压泵出口逆止门徐矿电厂25.8.14  QG2508140200"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]