{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":39,"n_cols":13,"rows_kept":39,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["苏能（锡林郭勒）发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202510041532150265fbe","空气阀","N1/47424B","","件","4.00","","","","","",""]
["2","TM2025100415321502758ea","刮板装置","与北京电力厂ZGM133磨配套MG60.11.07.01","","件","4.00","","","","","",""]
["3","TM20251004153215028f287","GIL伴热毯","硅橡胶电热毯，1520*250mm","","个","6.00","","","","","",""]
["4","TM20251004153215029d9f4","锥形罩","与北京电力厂ZGM133磨配套MG60.11.08.02","","件","2.00","","","","","",""]
["5","TM202510041532150305e23","冷却器","CNAX/ATT06/C04/6","","台","1.00","","","","","",""]
["6","TM20251004153215030baa6","防磨板（一）","与北京电力厂ZGM133磨配套MG60.11.09.72","","套","6.00","","","","","",""]
["7","TM202510041532150318e44","防磨板（二）","与北京电力厂ZGM133磨配套MG60.11.09.71","","套","6.00","","","","","",""]
["8","TM202510041532150329405","导向块（二）","与北京电力厂ZGM133磨配套MG60.11.12.07.94","","套","6.00","","","","","",""]
["9","TM20251004153215033ccec","导向块（一）","与北京电力厂ZGM133磨配套MG60.11.12.07.96","","套","6.00","","","","","",""]
["10","TM2025100415321503377cb","橡胶密封件","与北京电力厂ZGM133磨配套","","件","2.00","","","","","",""]
["11","TM20251004153215034d8c8","#1导向板","ZGM80G-III","","个","6.00","","","","","",""]
["12","TM2025100415321503501c3","#2导向板","ZGM80G-III","","个","6.00","","","","","",""]
["13","TM20251004153215035480a","执行机构维修包","型号：1000-DA（配套进口阀门）","","套","1.00","","","","","",""]
["14","TM202510041532150363426","填料组件","V297488（配套进口阀门）","","套","1.00","","","","","",""]
["15","TM20251004153215037e43b","金属自密封环","V171260（配套进口阀门）","","件","1.00","","","","","",""]
["16","TM202510041532150379a9e","油封","PD85×60×12","","件","4.00","","","","","",""]
["17","TM202510041532150383c3b","油封","PD55×75×12","","件","8.00","","","","","",""]
["18","TM20251004153215039de09","油封","PD45×62×12","","件","4.00","","","","","",""]
["19","TM20251004153215040b69e","填料V04（62X42X40）","SCB6-15S","","组","10.00","","","","","",""]
["20","TM202510041532150400fa6","连接螺母","N1/47343A","","件","4.00","","","","","",""]
["21","TM20251004153215041d806","磨机尼龙棒","Φ40mm×70mm","","个","48.00","","","","","",""]
["22","TM20251004153215041d5b8","磨机尼龙棒","Φ60mm×110mm","","个","48.00","","","","","",""]
["23","TM20251004153215042956a","灰库双轴搅拌机减速机","泰兴泰隆摆线针轮减速机BWD7-23-Y30-6P-ZP","","台","1.00","","","","","",""]
["24","TM202510041532150435368","灰库给料机减速机","泰兴泰隆摆线针轮减速机BWD4-35-Y5.5-ZP","","台","1.00","","","","","",""]
["25","TM20251004153215043415f","滤油机","GLYC-B25","","台","1.00","","","","","",""]
["26","TM202510041532150446f01","高精移动滤油车","FC50-380-05HC","","台","2.00","","","","","",""]
["27","TM202510041532150453fac","循环油泵","UPS25-80","","个","1.00","","","","","",""]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]