{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":30,"n_cols":13,"rows_kept":30,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250704105829679e936","高低压钳形电流表","ES1010 /量程：0.0mA-1200A(50/60Hz自动） 分辨率：0.1mA 钳口尺寸：φ50mm 绝缘杆：五节绝缘杆（5米）","","件","1.00","","","","","","新安"]
["2","TM202507041058296814e8a","兆欧表","ZC11D-4 1000V 0-5000MΩ","","只","4.00","","","","","","天山"]
["3","TM202507041058296812099","耐震压力表","YTN-60 0.16MPA","","只","2.00","","","","","","郭家河"]
["4","TM20250704105829682ae0c","矿用杂散电流测定仪","BAOR-LY650GR","","台","1.00","","","","","","郭家河"]
["5","TM20250704105829683f954","减速机用压力变送器","GPD1.6K","","个","2.00","","","","","","郭家河"]
["6","TM202507041058296848840","平板水位计","EK8-EA/4SDA-2.5","L=440mm,公称压力2.5Mpa，介质温度t≤225℃","只","2.00","","","","","","郭家河"]
["7","TM20250704105829685bd8f","液位计","7ML5201-0EA0","","只","1.00","","","","","","郭家河"]
["8","TM202507041058296851e64","智能压力变送器","1151GP3E22M4B3D2C12 -2.5-0kpa//带阀座总成，输出信号：4-20mADC,电源电压：24VDC,最大工作压力大：7.46KPA","","套","1.00","","","","","","郭家河-包含但不限于上海上润仪表科技有限公司"]
["9","TM20250704105829686ab98","单项直流电压隔离变送器","CE-VZ01-84MSK-0.2//输入：5000VDC 输出：10VDC 电源：24VDC/SSET","变频器BPJV-2000/3.3(B)","个","2.00","","","","","","郭家河-急用，包含但不限于圣斯尔"]
["10","TM202507041058296879d95","电子防爆秒表","","","只","3.00","","","","","","各矿"]
["11","TM20250704105829687cb96","压力表","P1453-400(14×1.5）","","个","6.00","","","","","","玉华"]
["12","TM202507041058296883dfb","多功能智能调节仪","XMTS-8131Q//输入信号：调节输入4-20mA，阀位输入4-20mA。输出信号：调节输出4-20mA，阀位输入4-20mA。 1路继电器手/自动状态输出。电源：85-265VAC 50/60HZ。","","只","2.00","","","","","","郭家河"]
["13","TM20250704105829689d087","变频调速三相异步电机","YVF2-90S-4 1.1KW","","台","1.00","","","","","","徐矿电厂-型号符合，配套散热风机G-90 380V-包含但不限于杭州佳尔力电机有限公司尺寸"]
["14","TM202507041058296901ac0","断路器","HSM1-125E 80A","","只","4.00","","","","","","郭家河-包含但不限于杭申"]
["15","TM20250704105829691b4a9","继电器","JQ1P-5V-F (一开一闭五脚10A)","","只","30.00","","","","","","郭家河"]
["16","TM20250704105829691a71e","钮子开关","E-TEN1321 15A AC250V","","只","10.00","","","","","","郭家河"]
["17","TM20250704153702053e8dc","行灯照明变压器","JMB 容量200VA 频率50HZ 初级电压380V 次级电压220V/36V 绝缘等级B",".","台","2.00","","","","","","仓储"]
["18","TM202507041537020579b69","高效率隔爆型三相异步电动机","YBX3-90S-4 1.1KW 660/1140V B3",".","台","1.00","","","","","","玉华（特殊要求：封堵后盖，加长轴DI类）"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]