{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":28,"n_cols":13,"rows_kept":28,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏华美热电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM20250521142227832a598","氮气","99.999% GBW (E) 060256\t   8L／瓶","99.999% GBW (E) 060256\t   8L／瓶","瓶","24.00","","","","","","全年合同按实结算"]
["2","TM202505211422278340502","CEMS标气氮中氧","21%(8L)","21%(8L)","瓶","20.00","","","","","","全年合同按实结算"]
["3","TM2025052114222783594f0","CEMS 标气氮中氧","13%(8L)&nbsp;氧气13％，其余为氮气","13%(8L)&nbsp;氧气13％，其余为氮气","瓶","2.00","","","","","","全年合同按实结算"]
["4","TM20250521142227836348a","CEMS 标气氮中氧","6.98%(8L)&nbsp;氧气6.98％，其余为氮气","6.98%(8L)&nbsp;氧气6.98％，其余为氮气","瓶","2.00","","","","","","全年合同按实结算"]
["5","TM20250521142227836cd51","CEMS标气S02","8L 9.8Mpa\t2330mg/m3","8L 9.8Mpa\t2330mg/m3","瓶","6.00","","","","","","全年合同按实结算"]
["6","TM20250521142227837bce1","CEMS标气S02","8L 9.8Mpa\t85mg/m3","8L 9.8Mpa\t85mg/m3","瓶","20.00","","","","","","全年合同按实结算"]
["7","TM20250521142227838a696","CEMS标气S02","8L 9.8Mpa\t50mg/m3","8L 9.8Mpa\t50mg/m3","瓶","2.00","","","","","","全年合同按实结算"]
["8","TM20250521142227839cf2f","CEMS 标气S02","8L 9.8Mpa\t25mg/m3","8L 9.8Mpa\t25mg/m3","瓶","2.00","","","","","","全年合同按实结算"]
["9","TM202505211422278392bfc","CEMS 标气NO","8L 9.8Mpa\t160mg/m3","8L 9.8Mpa\t160mg/m3","瓶","4.00","","","","","","全年合同按实结算"]
["10","TM20250521142227840f023","CEMS 标气 NO","8L 9.8Mpa\t50mg/m3","8L 9.8Mpa\t50mg/m3","瓶","2.00","","","","","","全年合同按实结算"]
["11","TM20250521142227841dc39","CEMS 标气 NO","8L 9.8Mpa\t85mg/m3","8L 9.8Mpa\t85mg/m3","瓶","20.00","","","","","","全年合同按实结算"]
["12","TM20250521142227841a5d6","CEMS 标气NO","8L 9.8Mpa\t25mg/m3","8L 9.8Mpa\t25mg/m3","瓶","2.00","","","","","","全年合同按实结算"]
["13","TM20250521142227842f5d2","CEMS 标气N02","8L 9.8Mpa\t50mg/m3","8L 9.8Mpa\t50mg/m3","瓶","2.00","","","","","","全年合同按实结算"]
["14","TM20250521142227843fd62","CEMS 标气N02","8L 9.8Mpa\t85mg/m3","8L 9.8Mpa\t85mg/m3","瓶","20.00","","","","","","全年合同按实结算"]
["15","TM20250521142227844a204","CEMS 标气NO2","8L 9.8Mpa\t25mg/m3","8L 9.8Mpa\t25mg/m3","瓶","2.00","","","","","","全年合同按实结算"]
["16","TM202505211422278446933","氧化锆氧气标气","9.8Mpa3.0%浓度","9.8Mpa3.0%浓度","瓶","2.00","","","","","","全年合同按实结算"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]