{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":17,"n_cols":13,"rows_kept":17,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["陕西长青能源化工有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202510101016240368643","电磁阀","NF8551B401 24VDC 防爆等级：EXdbIICT4 EXtbIIIC Db 防护等级：IP66/IP67 （铭牌带EX标识）","ASCO,原型号L12BB452OG00040，ASCO","个","1.00","","","","","","硫磺造粒机阀门电磁阀更换，ASCO"]
["2","TM20251010101624038d0c5","电磁阀","4V210-08电磁阀  电压：220VAC   亚德客","/热电点火枪/渣仓","个","2.00","","","","","","脱盐水控制箱"]
["3","TM202510101016240389232","电磁阀","Ⅱ2GDcTX 供电：220V ，连接尺寸 1/4NPT   Parker","动力磨煤机 PAKER","个","5.00","","","","","","动力磨煤机出口快关阀检修，PAKER"]
["4","TM202510101016240392377","电磁阀","SY7120-5DZD-02,DC24V   SMC（日本）","SMC","个","3.00","","","","","","关键备件补库，动力布袋除尘器提升阀检修，SMC"]
["5","TM20251010101624040bc2a","电动执行机构","序列号：TU24741106，接线图：6010-100-04，型号：IQT 250，转速范围：8-30 SECS，最大力矩：250 Nm，防护等级：IP68，电源：380-3-50","C炉一次风机，ROTORK","台","1.00","","","","","","动力一次风机/送风机/引风机液力耦合器电动执行机构检修，ROTORK"]
["","合计","","","","","","","","","","",""]
["注：A、报价：含税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]