{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":26,"n_cols":13,"rows_kept":26,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202510301714309485251","复合式排气阀","DN100 PN10 阀板阀体材质316L（盖米）","DN100 PN10 阀板阀体材质316L","台","2.00","","","","","","直发内蒙苏能锡电公司，厂家：盖米"]
["2","TM202510301714309503b13","对夹式电动蝶阀","DN450  球墨铸铁 EPDM 阀板 316L（盖米）","DN450  球墨铸铁 EPDM 阀板 316L","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：盖米"]
["3","TM2025103017143095150e7","对夹式电动蝶阀","DN500 球墨铸铁 EPDM 阀板 316L（盖米）（不含执行器）","DN500 球墨铸铁 EPDM 阀板 316L（不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：盖米"]
["4","TM2025103017143095201a5","对夹式电动蝶阀","D971J/S4-10Q DN300 球墨铸铁 EPDM 阀板 1.4469 上海五厂（不含执行器）","D971J/S4-10Q DN300 球墨铸铁 EPDM 阀板 1.4469 （不含执行器）","个","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["5","TM20251030171430953bf9d","对夹式电动蝶阀","D971J/S4-10Q DN250 球墨铸铁 EPDM 阀板 1.4469 （不含执行器）","D971J/S4-10Q DN250 球墨铸铁 EPDM 阀板 1.4469 （不含执行器）","个","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["6","TM20251030171430953336e","对夹式电动蝶阀","DN300  球墨铸铁 EPDM 阀板 316L （不含执行器）","DN300  球墨铸铁 EPDM 阀板 316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["7","TM20251030171430954b0bb","对夹式电动蝶阀","DN250  球墨铸铁 EPDM 阀板 316L （不含执行器）","DN250  球墨铸铁 EPDM 阀板 316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["8","TM202510301714309554fae","对夹式电动蝶阀","DN200  球墨铸铁 EPDM 阀板316L （不含执行器）","DN200  球墨铸铁 EPDM 阀板316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["9","TM20251030171430956e957","对夹式电动蝶阀","DN150 球墨铸铁 EPDM 阀板316L （不含执行器）","DN150 球墨铸铁 EPDM 阀板316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["10","TM2025103017143095726ca","对夹式电动蝶阀","DN100 球墨铸铁 EPDM 阀板316L （不含执行器）","DN100 球墨铸铁 EPDM 阀板316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["11","TM20251030171430957f3a7","对夹式电动蝶阀","DN80 球墨铸铁 EPDM 阀板316L （不含执行器）","DN80 球墨铸铁 EPDM 阀板316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["12","TM20251030171430958d7ab","对夹式电动蝶阀","DN65 球墨铸铁 EPDM 阀板316L （不含执行器）","DN65 球墨铸铁 EPDM 阀板316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["13","TM20251030171430959c546","对夹式电动蝶阀","DN50 球墨铸铁 EPDM 阀板316L （不含执行器）","DN50 球墨铸铁 EPDM 阀板316L （不含执行器）","台","1.00","","","","","","直发内蒙苏能锡电公司，厂家：上海五厂"]
["14","TM20251030171430959c99c","法兰式电动蝶阀","FD-F DN200 PN10(FIYGER)","FD-F DN200 PN10(FIYGER)","台","1.00","","","","","","直发内蒙苏能锡电公司，技术 李 17547914462"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]