{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":19,"n_cols":13,"rows_kept":19,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20250403162324429133b","交流接触器","CJX2-1201","","只","6.00","","","","","","脱硫湿磨机起重机使用"]
["2","TM20250403162324430a409","交流接触器","CJX2-2501 36V","","只","6.00","","","","","","脱硫湿磨机起重机使用"]
["3","TM202504031623244317656","万能转换开关","LW26-20","","只","10.00","","","","","","6KV开关转换开关更换"]
["4","TM202504031623244323159","阻旋式堵煤开关","TLZX","","个","2.00","","","","","","输煤堵煤保护更换"]
["5","TM20250403162324433aad3","非接触式（无源核子）料位计","供电电源：AC220V；输出信号：一组4-20MA模拟量，两组开关量，配套手操器及安装支架","0.9w","台","4.00","","","","","","热控：电除尘使用-A修用。包含但不限于沃纳、罗森、智瑞品牌之一；新增"]
["6","TM20250403162324434949d","便携式压力校验仪","YBS-WY -16kPa-16kPa 0.5级","1w","台","1.00","","","","","","热控：现场仪表校验-A修用。更换-包含但不限于淮安天仪"]
["7","TM202504031623244340453","尿素专用水分仪","YRS301 双通道设计，可同时接2个电解池，可同时进行卡尔费休容量法及卡尔费休电量法测量容量法测量范围 10ppm-100%水，分辨率 1ppm，最小进液 1μL，滴定管 20ml，滴定管精度 1/20000，重复性 ≥99.7%（10mg水），最大误差 &lt;1%，电量法测量范围：1ug～999999.9ug，   准确度：当测量结果为3μg-1mg时，测量误差≤3μg，（另提供技术规范）","5w","台","1.00","","","","","","化验班-因脱硝液氨改尿素，需做入厂检验。（新增）"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]