{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":22,"n_cols":13,"rows_kept":22,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏新美建筑工程有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM2025070715333154008d0","液压脚踏冲洗阀蹲式大便器","长610㎜，宽430㎜","","个","24.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["2","TM20250707153331542b3aa","脚踩阀","不锈钢，进排气直径5mm","","个","24.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["3","TM20250707153331543884a","DN25不锈钢冲水管+DN25不锈钢弯头","不锈钢，长600mm","","套","24.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["4","TM202507071533315441c16","落地式小便器","高980㎜，宽440㎜","","个","7.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["5","TM20250707153331545b2e8","马桶","排水口中心距墙400㎜","","个","3.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["6","TM2025070715333154627e5","304不锈钢三角阀+304不锈钢DN32软管600mm","不锈钢，长600mm","","套","18.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["7","TM202507071533315470ac5","台下盆","陶瓷吸水率须达到0.5%","","个","15.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["8","TM20250707153331548b7ef","感应水龙头","铜本体，单冷、红外感应、自动出水关水、节水","","个","15.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["9","TM202507071533315480fd7","下水器","不锈钢，32mm","","个","15.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["10","TM20250707153331549fe14","拖布池+不锈钢加长水龙头","长560㎜，宽450㎜","","套","4.00","","","","","","控制价在公告内（含税），税率为13%。品牌：东姿、安莎、鹰牌、辉煌同等及以上。投标人使用其他品牌时须征得招标人同意。送货前先提供样品送至项目部。具体详情报名前请联系项目部15094347286。"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]