{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":55,"n_cols":13,"rows_kept":55,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["平凉新安煤业有限责任公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM20251013093937328f18b","干粉灭火器","5kg","","具","300.00","","","","","",""]
["2","TM202510130939373308acd","干粉灭火器","8kg","","具","10.00","","","","","",""]
["3","TM202510130939373316b08","消防水带","DN65*20m\nPVC/聚氨酯","","盘","150.00","","","","","",""]
["4","TM2025101309393733215c9","水带接口","DN65","","个","200.00","","","","","",""]
["5","TM20251013093937333ae94","直流水枪","DN65","","个","5.00","","","","","",""]
["6","TM20251013093937333ad14","开花水枪","DN65","","个","2.00","","","","","",""]
["7","TM20251013093937334356e","消防斧","P710","","把","50.00","","","","","",""]
["8","TM202510130939373350015","消防钩","2米","","把","50.00","","","","","",""]
["9","TM20251013093937336a4ae","消防桶","不锈钢半圆","","个","100.00","","","","","",""]
["10","TM20251013093937336d941","消防阀门","DN65","","个","20.00","","","","","",""]
["11","TM2025101309393733728f3","应急照明灯","AC220V","","个","20.00","","","","","",""]
["12","TM202510130939373386478","应急疏散灯","AC220V","","个","20.00","","","","","",""]
["13","TM20251013093937339ed86","手推式干粉","35kg","","具","2.00","","","","","",""]
["14","TM20251013093937339e300","水基灭火器","9kg","","具","10.00","","","","","",""]
["15","TM2025101309393734078e7","栓头接口","DN65","","个","20.00","","","","","",""]
["16","TM20251013093937341ff9f","消防栓栓头","DN65","","个","10.00","","","","","",""]
["17","TM20251013093937342d27e","灭火器箱","5kg*2","","个","50.00","","","","","",""]
["18","TM20251013093937343318d","消防高压软管","3C，25m","","盘","20.00","","","","","",""]
["19","TM202510130939373439352","壁式消火栓箱","0.8m长","","个","10.00","","","","","",""]
["20","TM202510130939373449baa","烟雾弹","85mm*130mm","","个","4.00","","","","","",""]
["21","TM2025101309393734555ff","防爆手电","3.7V","","个","10.00","","","","","",""]
["22","TM20251013093937345f004","安全绳","30m*16mm/钢丝芯","","个","2.00","","","","","",""]
["23","TM202510130939373465af6","腰斧","305mm","","把","2.00","","","","","",""]
["24","TM202510130939373473107","地下消火栓","65/100","","个","5.00","","","","","",""]
["25","TM202510130939373477666","室内消火栓","DN65","","个","30.00","","","","","",""]
["26","TM20251013093937348abeb","集水器","DN65","","个","2.00","","","","","",""]
["27","TM202510130939373486924","分水器","DN65","","个","2.00","","","","","",""]
["28","TM20251013093937349dcd3","防毒面具","5号","","具","4.00","","","","","",""]
["29","TM20251013093937350b7b0","多用警戒线","50米","","盘","4.00","","","","","",""]
["30","TM20251013093937350bde9","对讲机","功率5W","","台","20.00","","","","","",""]
["31","TM20251013093937351ceb8","灭火器喷管","国标","","个","60.00","","","","","",""]
["32","TM202510130939373529cda","灭火器喷头","含压力表","","个","50.00","","","","","",""]
["33","TM20251013093937352cca3","水带喉箍","DN65","","个","200.00","","","","","",""]
["34","TM20251013093937353c9c1","灭火器标签","110*85mm","","个","1000.00","","","","","",""]
["35","TM20251013093937354c87c","消防灭火毯","1.5*1.5","","个","6.00","","","","","",""]
["36","TM20251013093937354f6d3","消防沙袋","牛皮纸","","个","500.00","","","","","",""]
["37","TM202510130939373554b04","闸阀","DN100","","个","4.00","","","","","",""]
["38","TM20251013093937355ab46","干粉灭火器","5kg","","具","700.00","","","","","","校验"]
["39","TM2025101309393735685da","干粉灭火器","8kg","","具","40.00","","","","","","校验"]
["40","TM20251013093937357c316","二氧化碳灭火器","3kg","","具","20.00","","","","","","校验"]
["41","TM2025101309393735797ae","二氧化碳灭火器","9kg","","具","10.00","","","","","","校验"]
["42","TM202510130939373581f5e","手推式干粉","35kg","","具","4.00","","","","","","校验"]
["43","TM202510130939373584df2","水基灭火器","9kg","","具","25.00","","","","","","校验"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]