{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":42,"n_cols":13,"rows_kept":42,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿综合利用发电有限公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","6499000126","定位器","(TZID-C)V18345-1010121001","","块","2.00","","","","","","带反馈杆,给水泵再循环热控"]
["2","6499000313","高能点火器","XDH-20C","","个","1.00","","","","","","AC220 2500热控"]
["3","6499000314","火检探头（功能板）","XHT-7-13","","个","4.00","","","","","","型号一致热控"]
["4","6507040001","干式冷却风机","GFSD650-200","","台","2.00","","","","","","大修补料：励磁变压器风机：150W，380V,逆时针旋转、1400Y/min，风量2200m3/h  ，佛山市华鹰变压器"]
["5","6901000087","集热块","12Cr1MoVG  直径φ51*8mm 开孔φ8mm带固定螺丝","","个","150.00","","","","","","材质一致，固定螺丝材质：316不锈钢热控"]
["6","6999000076","过滤器 .","","","只","5.00","","","","","","GN03D新型加长不锈钢过滤器热控"]
["7","2015600011","导电膏","DDG-A   500G/盒","","盒","1.00","","","","","","大修补料：规格型号正确电气"]
["8","2725860177","空气过滤组合（气源三联件）","AC4000-04D","","件","5.00","","","","","","带压力表，不自动排水热控"]
["9","6305010036","接近开关","M0824PA 10-30VDC(I:300mA S:8mm)","","个","50.00","","","","","","正品证明，除尘器，带保位功能热控"]
["10","6404010005","瓦振传感器","PR9268/206-100","","只","1.00","","","","","","配隔热快，底座热控"]
["11","6404010013","称重传感器","9355K-75Kg","","只","4.00","","","","","","给煤机，原厂证明热控"]
["12","6405010003","电磁阀","索特ST2542-15 0.15-0.8MPa","","套","28.00","","","","","","正品证明，除尘器热控"]
["13","6407010042","远传液位计","L=1800mm 24v 下进线","","个","2.00","","","","","","包塑，那酸碱腐蚀热控"]
["14","6407070010","热电阻","WZPM2-201 PT100 双支 三线制 直径6mm M8*0.75 A级 长6m","","只","4.00","","","","","","长度2M热控"]
["15","6407990249","阻油温度传感器","DY-ZYWDCGQ","","支","2.00","","","","","","配密封塞，1瓦及机头推力轴承热控"]
["16","6407990250","阻油温度传感器","DY-WDCGQ","","支","1.00","","","","","","配密封塞，小机4瓦推力轴承热控"]
["17","6499000040","过滤器减压阀","QE210-0347-TZ","","只","8.00","","","","","","给煤机热控"]
["18","1645010584","5口千兆PoE交换机","TL-SG1005P","","台","2.00","","","","","","大修现场视频监控"]
["19","1441100514","按钮","LAY50-22D-11  绿","","只","40.00","","","","","","给煤机热控"]
["20","1441100516","按钮","LAY50-22D-11  红","","只","40.00","","","","","","给煤机热控"]
["21","1438955960","差压开关","BH-009030-009 21-207 3450KPA 6000","","个","4.00","","","","","","型号一致,BH-068007-068热控"]
["22","6407050007","差压开关","常州天利TXK-101可调范围0.02-0.25Mpa","","个","4.00","","","","","","型号一致热控"]
["23","2702560110","电控换向阀","SR551-EN25D  AC220V","","件","8.00","","","","","","，带快插接头，密封垫热控"]
["24","1462081352","接线端子排","UK2.5B   3001035","","个","1000.00","","","","","","型号一致热控"]
["25","1441020102","控制按钮","ZB2-BE101C  3-4  220V3A","","台","30.00","","","","","","给煤机热控"]
["26","6407060030","热电偶","WREK2-131 k分度 L=15m","","个","10.00","","","","","","铠装，耐高温，壁温热控"]
["27","6607010028","污水PH电极（美国原装）","PHE-262","","个","2.00","","","","","","配套丽和PH计使用，航空插头款热控"]
["28","1412031026","橡套电缆","YZ    4*2.5","","m","100.00","","","","","","螺栓加热棒用，防水电缆，线外包软橡胶，纯铜内芯，提供3C认证，质量合格证"]
["29","6404010019","转速传感器","VB-Z9200","","个","4.00","","","","","","VB-Z9200-100-01-00  无航空插头，引出线8米 磁阻热控"]
["30","6407030155","PH电极","TB556J1D15T19","","个","1.00","","","","","","复合电极"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]