{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":22,"n_cols":13,"rows_kept":22,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["新疆库车县夏阔坦矿业开发有限责任公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","TM202507171149373431d9d","面盆下水伸缩软管（塑料下水软管）","DN32*800mm","DN32*800mm","根","20.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["2","TM20250717114937345d40d","UDF颗粒活性碳滤芯","20寸 长度508mm\n直径70mm","20寸 长度508mm\n直径70mm","个","20.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["3","TM20250717114937346c551","LED灯贴","MR24-Y","MR24-Y","个","30.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["4","TM20250717114937347eb82","LED平面灯","300*300mm\n功率：18W","300*300mm\n功率：18W","个","30.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["5","TM20250717114937347733c","铜芯橡皮软电线【聚氯乙烯绝缘聚氯乙烯护套电缆】","BVVB-300/500V  2*2.5 内有两根线【BVVB-2*1/1.76 2*2.5mm2】","BVVB-300/500V  2*2.5 内有两根线【BVVB-2*1/1.76 2*2.5mm2】","米","200.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["6","TM202507171149373484d91","五孔插座","五孔 86型暗装 220V 10A","五孔 86型暗装 220V 10A","个","10.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["7","TM202507171149373492b0c","五孔插座","明盒220V10A","明盒220V10A","个","10.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["8","TM20250717114937349f399","插座固定器","材质：钢/铁","材质：钢/铁","个","40.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["9","TM2025071711493735085f8","延迟阀","手按式-32mm","手按式-32mm","个","50.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["10","TM202507171149373513fb4","延迟阀","脚踩式-32mm","脚踩式-32mm","个","50.00","","","","","","规格图片附公告后；需求国标产品。报价含税含运费，报价时需注明税率"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]