{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":27,"n_cols":13,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","6012010073","磨煤机骨架油封","260*300*20（2个一组）","","个","4.00","","","","","","下述均直发阿克苏电厂，260*300*20(磨煤机组合式，两个一组，含骨架)；原主设备厂家：北京电力设备总厂"]
["2","6015180017","滤布","M4-0020","","条","1.00","","","","","","机务：#1、2脱水皮带机备用，M4-0020；宽1.15m、长22.6m、（黄色）厚1.45mm；原厂家：烟台桑尼核星环保设备有限公司"]
["3","6015180033","新式机械纠偏","DU5.4M2/900配套","","套","2.00","","","","","","#1脱水皮带机使用（用一备一）"]
["4","6302010209","重调机齿条","DK12.0a（J）-1","","个","9.00","","","","","","重调机用"]
["5","6405010062","电磁阀线圈","AMG208 EMERSON V1015 VOLTS:208-240 WATTS:17/12","","个","1.00","","","","","","热控：中央空调备件"]
["6","TM20250612140726606d762","轴","/阿克苏","HGS1008B.04.02-02（材质：#45钢 含短套、长套）","根","2.00","","","","","","滚轴筛轴部分更换用/"]
["7","TM2025061214072660669f4","筛片","/阿克苏","HGS1008B.04.02-03 （材质：ZG40Mn2 含两边标准件）","套","6.00","","","","","","滚轴筛部分筛片更换用/"]
["8","TM20250612140726607cb4b","短套端内衬板","/阿克苏","HTGS368*280-13A","件","3.00","","","","","","滚轴筛部分衬板更换用/"]
["9","TM2025061214072660871c1","长套端内衬板","/阿克苏","HTGS368*280-13B","件","3.00","","","","","","滚轴筛部分衬板更换用/"]
["10","TM20250612140726608596d","电动推杆（含电机）","/阿克苏","DT300-50-I带行程开关及附件","套","1.00","","","","","","斗轮机中心落煤管切换用/"]
["11","TM2025061214072660936ad","电动推杆（含电机）","/阿克苏","DTI500-300/60带行程开关及附件","套","1.00","","","","","","犁煤电动推杆更换用/"]
["12","TM2025061214072661085eb","称重传感器","/阿克苏","LOSS-500kg 原厂家：江苏赛摩","个","2.00","","","","","","热控：#5皮带称重使用事故备件/"]
["13","TM202506121407266103868","称重控制板","/阿克苏","PLR-DC 原厂家：江苏赛摩","个","1.00","","","","","","热控：#5皮带称重使用事故备件/"]
["14","TM20250612140726611f26c","主板","/阿克苏","温州瑞基RJ19配套使用 带主板至显示板处配套排线","块","1.00","","","","","","热控：沉淀池电动执行机构使用1块/"]
["15","TM202506121407266120571","电源板","/阿克苏","温州瑞基RJ19配套使用","块","1.00","","","","","","热控：沉淀池电动执行机构使用1块/"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]