{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":23,"n_cols":13,"rows_kept":23,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏省矿业工程集团有限公司矿建分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","无税单价（元）","总价（元）","品牌","备注"]
["1","TM2025072819151579452db","电机维修","1.14kv及以下","1.14kv及以下","KW","1.00","","","","","",""]
["2","TM2025072819151580114ba","潜水泵电机维修","1.14kv及以下","1.14kv及以下","KW","1.00","","","","","",""]
["3","TM20250728191515805a294","缠绕式三项异步电动机维修","400kw及以下\n6kv","400kw及以下\n6kv","KW","1.00","","","","","",""]
["4","TM202507281915158062e5f","缠绕式三项异步电动机维修","400kw-800kw\n6kv","400kw-800kw\n6kv","KW","1.00","","","","","",""]
["5","TM20250728191515807a372","缠绕式三项异步电动机维修","800kw及以上\n6kv","800kw及以上\n6kv","KW","1.00","","","","","",""]
["6","TM202507281915158086270","干式变压器维修(大修）","KBSG型","KBSG型","KVA","1.00","","","","","","干式变压器线包损坏，拆开大修"]
["7","TM202507281915158095e6b","干式变压器维修(小修）","KBSG型","KBSG型","KVA","1.00","","","","","","处理高低侧接线腔，确保完好"]
["8","TM202507281915158091622","干式变压器检测","KBSG型","KBSG型","台","20.00","","","","","",""]
["9","TM202507281915158107123","油侵式变压器检修","S11-4000/\nS11-3150","S11-4000/\nS11-3150","台","4.00","","","","","","测绝缘电阻、直流电阻、测变比，油试验、更换全套密封、除锈刷漆。"]
["10","TM2025072819151581111b3","油侵式变压器检修","S11-630/\nS11-500","S11-630/\nS11-500","台","5.00","","","","","","测绝缘电阻、直流电阻、测变比，油试验、更换全套密封、除锈刷漆。"]
["11","TM20250728191515812d7be","油侵式变压器加油","45#","45#","kg","1500.00","","","","","","据实结算"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]