{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["询价单"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"询价单","index":0,"n_rows":24,"n_cols":13,"rows_kept":24,"cut":false,"hidden":false,"merged":[[1,0,1,3],[1,6,1,11],[2,0,2,3],[2,6,2,11],[3,0,3,3],[3,6,3,11],[4,0,4,3],[4,6,4,11],[0,0,0,11]],"flags":["formulas_cached_only"]}
["江苏徐矿能源股份有限公司物资供销分公司物资采购询（报）价单"]
["报价单位（公章或合同章）:",{"$nulls":5},"询价部门："]
["联系人:",{"$nulls":5},"联系方式："]
["传真:",{"$nulls":5},"报价截止日期："]
["供应商编码:"]
["序号","物资编码","物资名称","规格","型号","计量单位","数量","交货期","主机","含税单价（元）","总价（元）","品牌","备注"]
["1","1807290181","格栅灯","600*600 节能管","","盏","6.00","","","","","","徐矿电厂"]
["2","1807280173","LED投光灯","防爆  50W,白光，IP65,220V-240V","","套","20.00","","","","","","徐矿电厂"]
["3","1807260139","LED三防灯","50W,白光，IP65,220V-240V,墙壁安装","","套","30.00","","","","","","徐矿电厂"]
["4","1807290215","LED投光灯","IP66  50W  6500K白光","","盏","10.00","","","","","","徐矿电厂"]
["5","1807052101","LED投光灯","IP66  100W  6500K白光","","盏","10.00","","","","","","徐矿电厂"]
["6","1635200093","液晶显示器","22\"  LED背光液晶显示器 分辨率1920*1080；屏幕比例16:9","","台","1.00","","","","","","徐矿电厂"]
["7","1645010307","交换机","华为S5735S-H24T4X-A","","台","1.00","","","","","","徐矿电厂"]
["8","1655200341","PLC模块","S7-200 CPU 224XP CN 214-2BD23-OXB8","西门子","个","1.00","","","","","","徐矿电厂"]
["9","1655201045","K型电偶温度变送器模块","SBWR   量程0-800℃","","只","5.00","","","","","","徐矿电厂"]
["10","1655209110","中文面板","ACS-CP-D","ABB","台","2.00","","","","","","徐矿电厂"]
["11","1655300101","电导电极","GY28-01  常数0.108","","支","1.00","","","","","","徐矿电厂"]
["12","1807290070","客厅吊顶灯","如意祥云15头（含光源） E27","","盏","2.00","","","","","","徐矿电厂"]
["","合计","","","","","","","","","","",""]
["注：A、报价：无税单价（运费、装卸费出卖人承担）。"]
[" B、质量标准：国标、行业标准、企标，并注明标准号。非标产品以双方认可的图纸、协议等为准。"]
[" C、请务必填写完整、清晰，否则报价无效，修改处签章。"]
[" D、 “报价单”视为合同附件，具有法律效应。"]
[" E、付款方式：电子承兑。"]